“What is the purpose”? you may ask. 
“Grid”, I answer

[Go Grid, or go home]

Not to toot my own horn, but

[Jacob]

[Master Thesis]

[Study programme]

[30/60 credits]

[Institute]

Abstract

For dosimetry we used Gafchromic EBT3 dosimetry films. They darken when exposed to radiation, and we can use their optical density to calculate received dose. Cells were irradiated by Magnus Børsting in his master thesis (Magnus Børsting, 2020). His cells were counted using a segmentation algorithm made by Delmon Arous (Arous et al., 2022). 
A model

# Abbreviations and explanations

Apoptosis – A mechanism allowing damaged cells to initiate self-destruction (Apoptosis | Cytology | Britannica, 2013).

ATM – A protein activated by DNA damage. Its purpose is to phosphorylate (activate) numerous proteins related to cellular response after exposure to ionizing radiation (Samuel et al., 2002).

ATP – Adenosine triphosphate a molecule, which provides cells with energy for the cell and phosphate groups for protein activation. Through the process of hydrolysis, ATP is converted to ADP (adenosine diphosphate) (Adenosine Triphosphate | Definition, Structure, Function, & Facts | Britannica, 2020).

BM – Biomolecule. There are four types of biomolecules: carbohydrates, lipids, nucleic acids and proteins (Biomolecule | Definition, Structure, Functions, Examples, & Facts | Britannica, 2020). These are molecules important for normal cell functioning, and damage to them can have harmful consequences.

CDK – Cyclin dependent kinase

CT – Computed Tomography is an image modality using an X-ray source that creates an X-ray beam, which rotates around the patient, which lays between the source and a detector array. Attenuation values in different tissues are found and used to create an image (Villarraga-Gómez, 2016).

Cytokines – A category for signaling molecules that mediate immune responses by enabling cell to cell communication (Mandal Ananya, 2019). The cytokines relevant to this thesis are different variants of IL (interleukin) cytokine, TNF-α and TGF-β. They are all important in regulating cell division (Najafi et al., 2014).

DNA – Deoxyribose nucleic acid

DNA transcription – A process of creating a messenger ribonucleic acid (mRNA), which is used to create specific proteins. A transcription factor binds to the DNA, telling the enzyme RNA-polymerase to read a gene sequence of interest. As each base (Adenine, Cytosine, Thymine and Guanine) in the sequence is read, a complementary nucleotide is attached to form the mRNA strand (Transcription | Definition, Steps, & Biology | Britannica, 2019). In the DNA Adenine binds to Thymine, but during transcription, Thymine is replaced with Uracil (Mason et al., 2020, p.48).

EBT – External Beam Therapy

GD – Gradient Descent

GLCM – Grey-level co-occurrence matrix

GLM – Generalized Linear Models

GN – Gaussian-Newton

HR – Homologous recombination

IAEA – International Atomic Energy Agency

LET – Linear energy transfer

LINAC – Linear accelerator is a device that accelerates charged particles using an alternating electric field. They are used in radiation treatment to accelerate electrons into a high atomic-number target, creating high energy (MV) bremsstrahlung (Philip Mayes et al., 2007).

LM – Levenberg-Marquardt algorithm

MN – Micronuclei are chromosome fragments not included in either daughter cells following cell division. They are a result of DNA damage, and might lead to immune responses (Harding et al., 2017).

MLC – Multileaf collimators are individual metal (often Wolfram) blocks used to shape a radiation beam coming from an external radiation therapy machine (Galvin et al., 1993).

MLE – Maximum likelihood estimator

NHEJ – Nonhomologous End-Joining

OD – Optical density

P53 – A protein that is bound to another protein called mdm2. When DNA damage occur, it is released from mdm2, and it will bind to a gene for transcription of the p21 protein. This protein will in turn inactivate a protein complex responsible for promoting cell division (Alberts et al., 2014, p.1014).

PCA – Principle Component Analysis

Phosphorylation – Is the process of transferring a phosphate group (PO3) to a molecule. Proteins are activated by phosphorylation, and the addition of a phosphate group might change the proteins in different ways: Extra charge from PO3 can attract amino acid chains that connect to the existing protein, or the structure of the binding cite can change (Alberts et al., 2014, p.153-154). Both processes regulate the activity level of the protein.

PMF – Probability Mass Function

PreRC – Prereplicative complex

Proteins – Chains of amino acids with different shapes, sizes and functions. One main function is catalyzing certain chemical reactions. These proteins are called enzymes and have binding cites where specific molecules fit. The enzymes can both break and form chemical bonds (Mason et al., 2020, p.38).

RNA-primer – Ribonucleic acid primers are short nucleotide sequences generated by RNA-polymerase. They exist as a starting point for DNA-polymerase, because they are only able to continue an existing strand (Mason et al., 2020, p.292). The RNA-polymerase will attach Uracil instead of Thymine (see 1.7.1), and they must be removed and replaced by a different DNA-polymerase (Cooper, 2000b).

ROS – Reactive Oxygen Species is a collective term for highly reactive molecules based on oxygen. It has been shown an increase in ROS after exposure to radiation, and it has been hypothesized that they mediate DNA damage (Narayanan et al., 1997).

SCE – Sister Chromatid Exchange is the process of sister chromatids exchanging genetic material. Increased SCE reflect the activity of homologous recombination (see 1.7.3), which again reflect the degree of DNA double strand breaks occurrences (see 1.7.3).

SDD – Source to Detector Distance

SVD – Singular Value Decomposition

Contents

Abbreviations and explanations	5

1.	Theory	11

1.1	Ionizing Radiation	11

1.1.1	Photon interaction in matter	12

1.1.2	Charged Particle interaction in matter	17

1.2	Creating the radiation beam	22

1.2.1	X-ray tube	22

1.2.2	X-ray filtering	23

1.3	Dosimetry	24

1.3.1	Quantities	25

1.4	Cavity Theory	29

1.4.1	Bragg-Gray cavity	30

1.4.2	Bragg-Gray-Laurence	31

1.4.3	Burlin	32

1.5	Dosimetry methods	33

1.5.1	Parallel- Plate Ionization Chamber	33

1.5.2	Thimble Ionization Chamber	35

1.5.3	Radiochromic film	36

1.6	Statistics	37

1.6.1	Non-linear curve fit	37

1.6.2	Akaike’s Information Criteria	40

1.6.3	Poisson Regression	40

1.7	Radiobiology	42

1.7.1	DNA basics	42

1.7.2	Cell Cycle and Checkpoints	44

1.7.3	DNA damage and repair	47

1.7.4	Cell Survival Curves	50

1.7.5	LQ-model	51

1.7.6	Radiation Induced Bystander Effect	53

1.7.7	Spatially Fractionated Radiation Therapy	55

2	Materials and Methods	56

2.1	Dosimetry	56

2.1.1	X-ray dosimetry	57

3	References	72

4	Appendix	88

4.1	Appendix A	88

4.1.1	Compton Scattering	88

4.1.2	Mean free path	92

# Introduction

(ikke ferdig, some explanation of cancer treatment and how spatially fractionated radiotherapy has the potential of improving tissue sparing but keep tumour control)

We know how well it reduces large bulky tumours. But the mechanisms behind it is not well defined. The LQ model does not include spatial fractionation and how it affects survival. Is there another parameter that might explain effects such as the bystander effect?

This thesis examines the 2D survival of A549 lung cancer cells irradiated with a spatially modulated X-ray radiation field. The thesis is therefore separated into two parts: First we need to establish the dosimetry of the cells. Then we need to establish a model that explains how the spatial modification affects survival.

We will use segmentation data  from Arous et al. of irradiated cells  from experiments performed by (Magnus Børsting, 2020). Because the cells have been irradiated using a spatially fractionated radiation field, the dose is not uniform, and dosimetry experiments have been made.

# Theory

## Ionizing Radiation

Radiation is transfer of energy. The main categories are ionizing and non-ionizing radiation. I.e., it either has enough energy to liberate an electron from the atom, or it doesn’t. Non-ionizing radiation consists of low-energy electromagnetic (EM) waves such as UV-light and microwaves.  Further right in the EM spectrum the frequency of the radiation increases. Because energy is E=hf, with h being the Planck constant and f being the frequency, the energy also increases, and the radiation becomes ionizing X-ray and γ particles. To clarify: The EM waves do not become particles, but it is know from the discovery of the photo-electric effect that you might interpret EM waves as “showers” of photons (Einstein & Infeld, 1938). Together with neutrons, they make up a group called uncharged particles. They are highly penetrating because they need to interact directly with a target.

Charged particles are different, they consist of particles with either positive or negative charge. Some examples are protons (+), electrons (-), and α-particles (+2). Their interaction probability is greater compared to uncharged particles. A photon must be close to either a nucleus or an electron for an interaction to occur. A charged particle may interact at a distance. Their Coulomb field interacts with the Coulomb fields of other electrons, causing a “Continuous Slowing Down” (Attix, 1986, p. 160).

The path of a charged particle through a medium is highly dependent on the particle at hand. What is the charge, its velocity, and its weight? 
In medical physics, the primary interested is ionizing radiation and using its properties to identify or treat medical lesions. This is further examined in the radiobiology section (1.7).

### Photon interaction in matter

Photons are energy-carrying particles, without mass, traveling at the speed of light. They interact with the surrounding medium in several ways. The main interactions are Rayleigh Scattering, Photoelectric effect, Compton Scattering, pair/triplet production, and photonuclear interactions (Attix, 1986, p.124-125). Which interaction you’ll have is highly dependent on the atomic number Z of the photon absorber and the energy of the incoming photon. The probability of interaction is defined as interaction cross-section, with the unit cm2. In Figure 1-1 we see which interaction type dominates for specific energies and atomic number Z. Pair production is the annihilation of photons in the presence of a nucleus’s Coulomb field, producing a positron (e+) electron (e-) pair. The interaction demands, at minimum, the rest energy of two electrons (2m0c2=1.02 MeV) (Attix, 1986, p.146-148). We will use photons with energies in the kV region, where the photoelectric effect and Compton scattering dominate, and these interaction types will naturally be our focus.

Rayleigh scattering is a relevant interaction type for lower energy photons. The photons are deflected from their path, but no energy transfers occur; hence, Rayleigh scattering does not contribute to the absorbed dose in the medium. However, it is still an important interaction type because it gives a complete picture of the photon’s path.

Figure 1-1. Photon interaction probability (defined as interaction cross-section σ [cm2]  as a function of atomic number Z and photon energy hν [MeV] The curves represent the area where two interactions have the same probability (Attix, 1986, p.125).

#### Photoelectric effect

The photoelectric effect is when an incident photon’s energy is absorbed by an electron bound to an atom. The kinetics is illustrated in Figure 1-2. If the energy is equal to or larger than the binding energy of the electron Eb it will ionize the electron. The energy transferred from the photon to the electron depends on its initial energy and the electron’s binding energy (Attix, 1986, p. 139).

| T=hν- Eb. | 1-1 |
| --- | --- |

The photon might liberate an inner shell electron with higher binding energy (K- or L-shell electron). A looser bound electron will deexcite, filling the vacancy. The energy difference is either emitted as characteristic X-rays or by ionization of a valence electron (outer shell electron). The latter is called the auger effect, and the ionized electrons are known as auger electrons (Attix, 1986, p.143). 
The cross-section per atom for the photo-electric effect is proportional to atomic number and incident energy of the photon

τ α Znhνm cm2atom  , 4<n<5 , 1<m<3 ,

The expression confirms Figure 1-1, as photoelectric effect increases with atomic number, and decreases with energy.

Figure 1-2.  Illustration of the photoelectric effect. A bound electron absorbs all the energy of incoming a photon. If the energy is high enough, it will ionize the electrons (Attix, 1986, p.138). The kinetic energy of the electron is dependent on the initial energy of the photon hν and the binding energy of the electron Eb. Recoil energy is given to the atom, but it is approximately 0.

#### Compton Scattering

The scattering process differs from the photo-electric effect in that the electron orbiting the nucleus is assumed free, which results in an inelastic collision. It is illustrated in Figure 1-3. The errors from this assumption have proved negligible, as the errors don’t become substantial until we have a high atomic number Z and low initial energy hν. When these conditions are reached, the photoelectric become the dominating interaction type (Attix, 1986,p. 125).

Figure 1-3. Illustration of Compton scattering, where the electron is assumed free.

The second difference compared to the photo-electric effect is that the photon only transfers part of its energy. The energy of the scattered photon follows this expression, which is derived in Appendix A

| hν'=hν1+hνmec21-cosϕ | 1-2 |
| --- | --- |

We observe a strong correlation with the energy of the incident photon, and the scattering angle. And a maximum energy transfer to the electron for 180∘.	
The Compton cross section per electron was derived by Klein and Nishina. They improved on the existing theory of Thomson scattering. Thomson’s cross section was independent of incident photon energy, and assumed hν=hν' (Attix, 1986, p.130).  This is correct for low energies. However, in Figure 1-4 we see the energy of the scattered photon starts decreasing for increasing scattering angle around 0.01 MeV, and reaches its minimum at 180∘.

Figure 1-4. Compton scatter energies in logeV. hν is energy of incident photon, hν' is energy of scattered photon.

The Klein-Nishina cross section is represented by the symbol σ.

Each interaction has its cross section. The photo-electric effect has τ, Compton scatter has σ pair production has κ and Rayleigh scattering has σR. It is practical to sum each cross section to create a combined interaction variable. It is defined as the attenuation coefficient

| μ= σ + τ+ κ+σR cm2/atom . | 1-3 |
| --- | --- |

However, it is more insightful to normalize it with density ρ. This way, we get μ/ρcm2kg, which represents how a photon is attenuated in a medium. This is called the mass attenuation coefficient.

For a polyenergetic photons, you must average the coefficient to include the full energy spectrum of the photons, but for simplicity we’ll assume monoenergetic photons.  
Now that we have the probability of interaction, we can include the fraction of kinetic energy transferred from the incident photon to a secondary electron within a volume of interest. This is called the mass energy-transfer coefficient

| μtrρ=σρ⋅Thν+τρ⋅hν-EXhν+κρ⋅hν-2m0 c2hν , | 1-4 |
| --- | --- |

Where T is the energy of the liberated electron after Compton scatter, EX is the energy of either K- or L-shell (highest binding energy) characteristic X-rays generated after the Auger effect. These X-rays carry energy away from the volume of interest and we therefore subtract their energy.
2m0c2 is the rest energy of the electron-positron pair created by pair production. We subtract because it’s the energy needed to create the electron-positron pair, leaving us with the kinetic energy (Attix, 1986, p.155).

The last expression we want is the mass energy-absorption coefficient μen/ρ. It represents the energy absorbed by the volume. It relates to the mass energy-transfer coefficient by

| μenρ=μtrρ (1-g), | 1-5 |
| --- | --- |

Where g is the fraction of energy lost to radiative loss (Attix, 1986, p.155-156).

#### Photon range

(Might remove)

Mean free path is the expected distance a photon will travel before interacting with the medium (Mean Free Path | Physics | Britannica, 2007). In  Appendix A we derived an expression for mean free path for a photon traversing a slab of material with infinitesimal area da and thickness dx

| <x> =1μ . | 1-6 |
| --- | --- |

The pathlength of the photon decreases with increasing attenuation. This is an important result, because it allows us to predict the path of the photon. It is especially useful when performing Monte Carlo simulations, which we’ll come back to in (ref here).

### Charged Particle interaction in matter

A charged particle has either positive or negative net electrical charge, such as electrons (e-), protons (e+) and ions (an atom with a surplus of electrons or protons).  Because of their charge, the particles will interact with other charged particles through their Coulomb fields. Two equal charges will repell and two opposite charges will attract. A charged particle traversing a medium is surrounded by Coulomb fields of positive (nuclei, positive ions) and negative (electrons, negative ions) charges, enabling the charged particles to interact at a distance. This distance is known as the impact parameter and is defined as the distance from the charged particle to the closest nucleus. We have three main categories of interactions:
Soft collisions, hard collisions and Coulomb interactions with the nucleus.

#### Soft collisions

Soft collisions are small Coulomb interactions between the Coulomb fields of an atom and a charged particle. The impact parameter is much larger than the atomic radius (distance from valence electrons to nuclei), and small amounts of energy are transferred to the orbiting electrons of an atom, mainly causing excitations. Even though the energy transfers are very small, the interaction is highly probable, therefore contributing to half of the energy loss of the charge particle (Attix, 1986, p.161).

#### Hard collision

Hard collisions happen when the impact parameter has the same order of magnitude as the atomic radius. The result is a significant kinetic energy transfer to an assumed free and stationary electron. These electrons are called δ-rays, which undergo the same charge particle interactions. The hard collisions might also result in liberation of an inner shell electron as described in 1.1.1.1, resulting in emission of characteristic X-rays (Attix, 1986, p.162).

#### Radiative transfer

Radiative transfer, also known as bremsstrahlung, is a process where a charged particle interacts with the nucleus’s Coulomb field. The impact parameter must be much lower than the atomic radius for this to happen. The interaction mainly occurs with electrons and will therefore be the focus point (Attix, 1986, p.163). The radiative transfer refers to an inelastic collision between the nucleus and the electron (See Figure 1-5). The electron with its negative charge is attracted to the nucleus’s positive charge, causing a deacceleration and deflection of the electron from its incident path. The decrease in kinetic energy ΔEe is converted to a photon, thus conserving energy. 
The probability of radiative transfer Is much lower compared to elastic scattering (2-3%) and is  proportional to q2z2T/Me2 (Grieken & Markowicz, 1993, p.3), where q is the charge, Z is the atomic number of the atom, T is the kinetic energy of the electron and Meis the rest mass of the electron.  With a larger Z, the atom has a higher proton count, resulting in the nucleus having a larger Coulomb field attracting the electron. The kinetic energy of the electron is important because the electron needs to penetrate the electron cloud surrounding the nucleus.
Radiative transfer is used when creating X-rays inside an X-ray tube, but we will come back to this in the section covering the X-ray tube (1.2.1).

Figure 1-5. Illustration of radiative transfer, where an electron inelastically collides with an atom’s nucleus deflecting it from its path. The result is an emitted photon with energy equaling the energy loss of the electron (Hapugoda, 2017).

#### Stopping Power

Stopping power is how much energy we expect the charged particle to lose per unit length. It can be found by integrating differential energy loss per length dT\dx over possible energy transfers. 
As discussed, the charged particle might lose its energy by colliding or by radiative transfer, we therefore separate these contributions (Attix, 1986, .165)

S=Sc+Sr

Energy lost to radiative transfer does not contribute to dose, because of the larger range of the bremsstrahlung. Radiative stopping power is still important to accurately describe the range of the charged particle. 
Collision stopping power is split into two parts: for soft Ssoft and hard collisions Shard.  Energy loss is dependent on the material it penetrates, we therefore introduce mass stopping power by dividing the stopping power by the material density S/ρ. 
The total collision mass stopping power is

| 4πNAZAre2mec2β2z2ln2mev2I-ln1-β2-β2-CZ MeVcm2g . | 1-7 |
| --- | --- |

Where NAZ/A is electrons per gram, re is classical electron radius, β=v/c , I is mean excitation potential in the medium, z is electron charge, and  C/Z is shell correction. The collision stopping power assumes the electron’s velocity to be much greater than that of the orbiting electrons in atoms. As the electrons slow down the assumption becomes untrue, and the shell correction accounts for this. Stopping power is inversely dependent on the square of the velocity and electrons with high kinetic energy will lose more energy further into the medium.

Mass collision stopping power is closely related to absorbed dose (energy absorbed per mass). When CPE is achieved absorbed dose is expressed as

D=ϕScρ  MeV/g,
ϕ is electron fluence in a radiation field (1.3.1) (Seuntjens et al., 2005).

Stopping power is useful because we can estimate the range of the charged particle, but we also need to know how much of that energy is absorbed by the medium. Linear Energy Transfer (LET) represents this quantity with the unit keV/μm. It is also known as restricted stopping power (Attix, 1986, p.179). When high energy electrons experience hard collisions, they liberate secondary electrons. A cutoff energy Δ is introduced, because some electrons might have high enough energy to escape the volume of interest. If none of the secondary electrons can escape, we have CPE (1.3.1) and

LET=Sc.

LET is especially important in radiobiology, because it measures how damaging a radiation type might be. A higher density of energy depositions results in higher dose absorbed and more damage. A typical percentage depth dose curve from photon beams of various energies is shown in Error! Reference source not found.. As photons attenuate through the medium, they dissipate their energy by interactions mentioned in 1.1.1. For high-energy photons we see a buildup of dose. Because of the high energies of the photons, the generated electrons will also have high energies. As seen in equation 1-7 the stopping power is lower for charged particles with high kinetic energy. So, the secondary electrons will lose their energy further into the medium, causing the buildup of dose we see in Figure 1-1. For kV photons the buildup is small but not negligible.

Figure 1-6. Percent Depth Dose curve for photon beams of different energies. As the photons attenuate through the medium they lose energy to electrons, which in turn lose energy through various interactions. A buildup region is seen for high energy photons before the maximum relative dose is reached. The same effect is not seen for photons of kV energy (Photon Dose Distributions | Oncology Medical Physics, n.d.).

#### CSDA

If we assume that the electrons are continuously slowing down (i.e., neglecting fluctuations in energy loss) as they interact, we can integrate total mass stopping power to get an approximate range called the continuously slowing down approximation (CSDA) range

RCSDA=0TmaxdTc+rρdx  gcm2 .

This lets us describe the path of secondary charged particles following an ionization event. It is different to projected range, as it describes the total range of the particle including all twists and turns. Projected range is a measure of how deep into the medium the particle penetrates (Attix, 1986, p.181).

## Creating the radiation beam

When treating or diagnosing patients using radiation, you need a stable and reliable beam. Various techniques are used for this purpose, but for our case we will focus on the X-ray tube.

### X-ray tube

The X-ray tube’s purpose is to convert electron energy into X-rays. As mentioned in 1.1.2 we have two interaction types generating X-rays from electrons interacting with matter. The first is characteristic X-rays generated after ionization of an inner-shell electron and the second is generation of bremsstrahlung from deacceleration of electrons traversing close to the atomic nucleus. In Figure 1-7 we see an illustration of the tube. The first component of the X-ray tube is the cathode, which is a spiraled wire called the filament. The filament is often placed inside a glass chamber called the envelope (Nadrljanski, 2021b). The filament is heated through resistance heating of a wire running through the cathode (Goel, 2021a). When the cathode reaches the right temperature, it will emit electrons through thermionic emission. A process where the heating energy surpasses the binding energy of electrons, and they are emitted from the metallic structure (Thermionic Emission | Physics | Britannica, 2021). The electrons are released into an evacuated tube with a high voltage. The potential difference accelerates the electrons toward a positively charged anode/target. Most anodes in x-ray tube targets are made of tungsten, because of their high atomic number and high melting point (Nadrljanski, 2021a).

Figure 1-7. Coolidge hot cathode X-ray tube with heated cathode, that releases electrons into vacuum sealed tube with potential difference dV causing acceleration of the electrons. The electrons are focused using a magnetic lens before hitting a target of high density material image ref. (Aksnes, 2020).

The electrons generate bremsstrahlung at different impact parameters (see 1.1.2), we therefore get a spectrum of possible X-ray energies, which is decided by Kramer’s rule. The essence of this rule is that when electrons hit a thick target the probability of direct impact with the nucleus, i.e., the impact parameter (see 1.1.2) is 0, is small. It is more probable that the electron experiences many smaller energy transfers and gradually deaccelerates, creating X-rays with less energy (Attix, 1986, p.211-214). X-ray tubes usually produce photon energies between 20 and 100 kV (Potts, 2005). The intensity of the beam follows the inverse square law where intensity decreases with the square of the distance away from the source following the equation (Attix, 1986, p.44)

I=α/r2 ,

where α is a proportionality constant.

### X-ray filtering

It is often desirable to remove the smaller X-ray energies from the X-ray beam. This is done by inserting a filter inside the X-ray beam. The filter attenuates lower energy X-rays and creates a more homogeneous energy spectrum (Goel, 2021). Figure 1-8 illustrates the difference between an unfiltered and filtered X-ray beam created in an X-ray tube with tungsten as target. The first peak is the low energy photons such as background radiation, the second and third peak is X-rays emitted after ionization of K-shell electrons (Amiri et al., 2021).

Figure 1-8. Unfiltered vs filtered X-ray energy spectrum created from a Tungsten anode with 2.5 mm aluminum filtering (Amiri et al., 2021).

## Dosimetry

Taking any medicine requires knowledge about the correct dosage. Medicine is often administered through pills with carefully measured ingredients to give the right effect. Radiation does not have that advantage. Radiation dose is dependent on the energy, exposure time, distance from source, material of the absorber and quality (e.g., photons, protons or neutrons) of the radiation.   
The solution has been to use the effects of radiation on different substances such as discoloring (film dosimeter), temperature change (calorimeter) and light emission (thermoluminescence). To understand all the intricacies of dose measurement we need to define important quantities.

### Quantities

#### Ionizing radiation field

We wish to find number of ionizations in a point P inside a field of ionizing radiation. A ray cannot interact with a 0-dimensional point, we therefore define a finite area a around the point. The incident angle of the ray might not be parallel to the area a, we therefore need to account for all possible angles. This results in a sphere around P as seen in Error! Reference source not found. with infinitesimal volume dV, mass dm and cross-sectional area da (Attix, 1986, p.5-6). 
The number of traversing rays per cross sectional area da is defined as fluence Φ.

Φ=dNda

If the number of rays differs over time, the fluence needs to be integrated over time to get the fluence rate. 
The radiant energy of the rays is equally as important as the number of rays, for a polyenergetic beam with energies E, we have energy fluence  Ψ.

Ψ=d2NEdadE=dΦEdE

Figure 1-9. Ionizing radiation field defined as a sphere encapsulation a point P with infinitesimal volume dV, mass dm, with a cross sectional area da (Attix, 1986, p.6).

#### KERMA

With the energy fluence we have the energies traversing the sphere, but to get a dose we need the rays to interact and release energy. This is where KERMA comes in. Kinetic Energy Release per Mass. It describes the process where uncharged particles (photons and neutrons) enters a defined volume and transfers some or all of their energy to electrons in the volume. The energy transfer is expressed by

| ϵtr=Eγ,in-Eγ-rl,out+∑Q , | 1-8 |
| --- | --- |

Where ϵtr is the expected energy transferred from uncharged radiation with energy Eγ,in into the volume minus the energy of the uncharged radiation Eγ-rl,out leaving the volume without interacting. 
RL stands for radiative losses and represents interactions where charged particles generate photon energy after the initial ionization. If these photons leave the volume, it does not matter because we are only interested in the energy transferred by the incident particles entering the volume.
The final term is conversion of rest mass to energy or energy to rest mass e.g., pair production (see 1.1.1) where a photon annihilates creating an electron positron pair. 
With ϵtr we can define KERMA

| K=dϵtrdm Jkg | 1-9 |
| --- | --- |

For monoenergetic photons, KERMA is related to energy fluence using the expression

K=Ψμtrρ ,

Where μtr/ρ is the mass energy transfer coefficient (see 1.1.1), which represents the probability of the photons transferring energy to the volume (Attix, 1986, p. 21-22).

Until now, we’ve neglected how the electrons have spent their energy after they’ve received it from the incident photons. Accounting for radiative loss gives net energy transfer ϵtrn represented by this expression

ϵtrn=Eγ,in-Eγ,out+ΣQ.

ϵtrn represents the energy of the electrons, not lost to radiative transfer. We can now separate KERMA into two parts: collision KERMA Kc and radiative KERMA Kr, where Kc  for monoenergetic photons is expressed as

Kc=dϵtrndm  .

We can relate Kc and energy fluence to another known quantity: mass energy-absorption coefficient μen/ρ (see 1.1.1) (Attix, 1986, p.24-25)

Kc=Ψμenρ .

#### Absorbed dose

When describing KERMA, we are interested in how energy is transferred from the photon to the medium. But photons aren’t the only contributors to dose; charged particles also transfer energy to the volume. We therefore define total energy transfer as

ϵ=Ee,in+Eγ,in-Ee,out-Eγ,out+ΣQ

Where we include the energy transferred by charged particles Ee entering the volume. 
We can now define dose as (Attix, 1986, p.26-27)

D=dϵdm  [J/kg].

The unit is the same as KERMA, but it is called Gray or Gy. The unit is especially important in radiobiology, because the amount of absorbed energy affect an organism’s chance of repairing the damage caused by the radiation (see 1.7.3).

#### Exposure

Exposure is defined as total charge Q of ions of one sign (+ or -) produced by X-rays or γ-rays per mass m of air when all secondary electrons are stopped in the air and charged particle equilibrium (see next paragraph) is achieved (Attix, 1986, p.29-30). The expression for exposure in an infinitesimal air volume is

| X=dQdm [C/kg]. | 1-10 |
| --- | --- |

We can relate exposure to mass energy absorption coefficient (μen/ρ) and energy fluence Ψ by introducing the variable W. W is the mean energy required to create an ion pairs (Podgorsak, 2016, p. 744). The resulting expression for monoenergetic photons is

| X=Ψ μenρaireWair=Kc eWair. | 1-11 |
| --- | --- |

e is the elementary charge.

#### Charged Particle Equilibrium (CPE)

If Ee,in=Ee,out the energy distribution of charged particles entering the volume is equal to the energy distribution of charged particles leaving the volume (visualized in Figure 1-10) (Attix, 1986, p.65). This situation is called charged particle equilibrium (CPE), and if satisfied,
reduces absorbed dose to Kc (Attix, 1986, p.69).

| D=Kc=Ψ μenρ . | 1-12 |
| --- | --- |

CPE essentially demands constant photon fluence everywhere around and within the smaller volume v in Figure 1-10. If the fluence dropped significantly when entering the large volume V, more secondary electrons would be generated at the entrance of v, compared to the exit and we don’t have CPE (Attix, 1986, p.67).

When CPE is achieved, we can easily find the dose ratio between two volumes. This is a practical metric because we often need to relate dose to mediums of different densities. 
CPE is not necessarily easy to achieve. If the volumes are near the source, we’ll have much higher fluence on the side closest to the source (Attix, 1986, p.72). This causes more ionizations closer to the surface of V, compared to the surface of v, and CPE fails. 
For larger photon energies, the range of the liberated charged particles will increase compared to the range of the photons. Therefore, charged particles ionized near the surface of V have larger ranges than the charged particles ionized near the surface of v. The generated charged particles will therefore enter volume v but doesn’t exit, and CPE fails.

Figure 1-10. Charged particle equilibrium visualized, where photon energy enters a volume V transferring energy to charged particles (electrons in this case), that traverses a smaller volume v. The electrons exiting v are of same type and energy distribution as the electrons entering, and we have CPE.

Transient Charged Particle Equilibrium (TCPE)

CPE demands no significant attenuation of photons within the smaller volume in Figure 1-10. As mentioned, this would require an infinitesimal small volume. A more realistic approach is that the photons ionize electrons inside the smaller volume. As the photons traverse, they lose energy, causing a decrease in dose contribution. Instead of dose being equal to Kc we assume proportionality, and the expression for dose becomes

D=Kc(1+f) ,

where f is the dose contribution from attenuation of photons through the volume.

## Cavity Theory

When measuring dose, we use a dosimeter. A very popular dosimeter is the ionization chamber, which we’ll discuss in detail (1.5). A more fundamental description of an ion chamber is a gas filled chamber connected to an electrometer. Radiation ionizes the gas, and the electrometer measures a charge proportional to absorbed dose. 
However, dose (a.k.a., energy absorbed in the medium) is not equal between mediums of different density. We therefore need to relate the dose absorbed by the gas to the medium we are interested in. The situation is visualized in Figure 1-11.

### Bragg-Gray cavity

In Bragg-Gray cavity theory, dose to water is related to dose to air by

DW=DAir⋅Sρairw ,

where Sρwairis the mass stopping power ratio between water and air. Dose to water is often used because radiation beams in the clinic are calibrated with the assumption that all tissue is “water-like” (Andreo, 2015). We see that the electron fluence is assumed constant, but for this to be true two conditions needs to be fulfilled (Attix, 1986, p. 232):

- The fluence of charged particles should not be perturbed in the cavity

- Only charged particles crossing the cavity contributes to the dose.

The second condition requires no significant attenuation of photons inside the cavity. Which in turn requires an infinitesimally dimensioned cavity. Gray calculated the size that satisfies these conditions and found that for unfiltered γ-radiation you would need a 3 cm3 air volume, while 100 kV X-rays require 0.1 cm3 for air filled cavity with graphite walls (Alm Carlsson, 2001).

Figure 1-11. A volume with material w (e.g., water), with an air-filled cavity inside. Energy Ψ traverses the volume releasing energy contributing to dose inside the cavity.

### Bragg-Gray-Laurence

The ideal Bragg-Gray scenario is not possible, as it would require an infinitesimally dimensioned dosimeter not to alter the charged particle fluence. It also demands the stopping power ratio SρWAirto be independent on energy, which is not the case for increasingly different mediums (Alm Carlsson, 2002). The theory was improved by introducing CSDA of the charged particles. This allows the charged particles to slow down inside the cavity, and we need to integrate over the stopping power ratio

DwDair= 0TmaxϕTSρwϕTSρair dT .

Bragg-Gray-Laurence in its simplest form requires CPE to accurately calculate the energy distribution of the electrons (Alm Carlsson, 2001). It might seem like a contradiction to incorporate CSDA, because CPE requires the energy of entering charged particles to be equal to the energy of the exiting charged particles. However, the cavity is still assumed to be small compared to the charged particle range and the energy loss inside the cavity is negligible. And because of the small size of the cavity, even small energy transfers will result in a significant dose.

The Bragg-Gray-Laurence cavity theory does not account for secondary electrons (δ-rays) generated inside the cavity. The Spencer-Attix cavity theory accounts for these electrons, and sets a cutoff energy Δ, where all δ-rays with energy higher than Δ escapes the cavity. As a result, more low energy electrons are added to the fluence.

### Burlin

All previous cavity theories concern small cavities. Burlin cavity theory tries to make a general theory for small, intermediate and large cavities (Attix, 1986, p.248). Looking at Figure 1-12, we see that the dose contribution from charged particles generated inside the cavity g outweighs the dose contribution from charged particles generated in w. The dose is therefore collision KERMA ratio Dair=Dwμenρwair.  
For intermediate sized cavities we have a mix of charged particles that are generated inside and outside the cavity. We also have charged particles that are either stopped inside the cavity or they escape.

The expression for dose ratio using the same air-water example

| DairDw=dSρwair+1-dμenρwair , | 1-13 |
| --- | --- |

where d is a factor that becomes 0 for large cavities and 1 for small cavities.

Figure 1-12. From left to right we see increasing cavity sizes, where dose contribution differs. W is the medium surrounding the cavity, g is the medium of the cavity. e is charged particles released in either w or g and γ is incoming photons. Burlin cavity is a general cavity theory which includes small, intermediate and large cavity sizes.

## Dosimetry methods

As mentioned in 1.3 different techniques are used for dose measuring. However, this thesis will focus on three different dosimeters: Ionization chamber, Gafchromic film and Alanine EPR (Electron Paramagnetic Resonance) dosimeter. These dosimeters fall into one of two categories: Absolute and relative dosimeters. The volume of an absolute dosimeter responds to radiation in such a way, that we are able to directly measure the received dose and does not require calibration in a known radiation field (Attix, 1986, p. 277). E.g., a free-air ionization chamber is an ionization chamber without walls, where the goal is to measure exposure (1.3.1) in a known mass of air.  However, for photon energies surpassing 1.5 MeV the secondary electrons have such a large range, that the free-air ionization chamber cannot fulfill CPE without becoming unpractically large (Podgorsak, 2016, p. 737). The ionization chambers we’ll discuss here are relative dosimeters.

### Parallel- Plate Ionization Chamber

The purpose of an ionization chamber is measuring ionizations inside a gas-filled cavity. A fundamental type of ionization chamber is the parallel plate chamber illustrated in Figure 1-13
The chamber is connected to a polarizing (negative cathode) and measuring electrode (positive anode). The polarizing electrode is directly connected to the power supply and creates the voltage difference, which in turn generates an electric field. Adjacent to the measuring electrode you have the guarding ring/electrode with the purpose of preventing leaking current from being measured by the electrometer (Podgorsak, 2016, p. 702). Looking at Figure 1-13 you see that the electrometer is connected to the power supply. Ideally the impedance (a circuit’s opposition to charge) inside the electrometer is high enough (typically 1014 Ω) and no charge moves through it (High Accuracy Electrometers for Low Current/High Resistance Applications | Tektronix, n.d.). However, some leakage will occur, and the guard rings are there to prevent this from being measured. The second purpose is to help define the effective collection volume of the chamber (see 1.5.2), by ensuring straight electric field lines (Podgorsak, 2016, p.703).

Figure 1-13. The schematics of a parallel plate ionization chambers. An electric field is established on the gas-filled cavity, so when the gas is ionized electrons will move toward the positively charged side, where they are collected by a measuring electrode connected to an electrometer.

When the electrons are ionized one of two things may happen: If the cavity is filled with electronegative gas with high electron affinity, the electrons will bind to the gas to create an ion. The ion will move toward the positively charged plate and the charge is “collected” by a measuring electrode connected to the electrometer. If the cavity does not have electronegative gas the ionized electrons moves directly to the measuring electrode (Podgorsak, 2016, p.705). The electrometer measures the accumulated charge, which is converted to dose. 
If the applied voltage is too low the negative ion will tend to recombine with the positive ion. The solution is increasing the voltage until the measured current is no longer dependent on voltage, this is called the saturation region (Attix, 1986, p.330-331). The measured output in this region is known as the saturation charge, or Qsat.

### Thimble Ionization Chamber

In Figure 1-14 we see a thimble (a.k.a. farmer type) ionization chamber. The chamber differs from the parallel-plate type by having a graphite thimble surrounding the gas-filled cavity. The graphite is chosen because it protects the sensitive volume and it is air equivalent, therefore minimizing the density difference between cavity and wall. This achieves charged particle equilibrium (Shortt et al., 2002). The protection cap is not shown in Figure 1-14 but surrounds the wall and ensures that we are passed the buildup region when the secondary electrons reach the wall and the cavity (see 1.1.2.4). The chamber has a central electrode connected to the electrometer. 
In a thimble ionization chamber, we want to find the exposure (see 1.3.1) to measure absorbed dose in the sensitive volume. Rearranging equation 1-11 we see that collision KERMA might be written as

Kc= XWe  .

From equation 1-10 we have the expression for exposure. Replacing the infinitesimal dQ/dm with the saturated charge Qsat and total air mass mair, we get collision KERMA for air

Kair=Qsatmair We .

CPE is achieved in a thimble ionization chamber, so absorbed dose can be found using equation 1-12. But the challenge arises when finding mair. mair is found using the effective volume, which is not necessarily the same as the geometrical volume of the chamber. The effective volume is defined by the electric field lines running from polarizing electrode to measuring electrode (Podgorsak, 2016, p.745). The field lines tend to bend outward away from the center, and this affects the fate of the ionized electron, thereby affecting the effective volume where electrons can be collected. 
To ensure most accurate dose measuring, a primary standards laboratory is given the job of calibrating the ionization chamber and finding its effective volume.

The calibration of a thimble ionization chamber is performed by measuring exposure X using a free-air chamber, then replacing it with a thimble chamber and measure the air KERMA Kair. The measurements are performed under specific reference conditions such as temperature, air pressure and humidity, using a reference beam energy and quality (typically 60Co photons).  From this we get a calibration factor Nk that relates output in nC to dose Gy (Podgorsak, 2016, p.744). The thimble chamber is then inserted into a water phantom, still in the known radiation field, where the Kair is measured again and converted to dose to undisturbed water (as if the ionization chamber wasn’t present) using a conversion factor and correction factors ) (P.Andreo et al., 1996, p.48).

Figure 1-14. Schematic of thimble ionization chamber, where the sensitive air-filled volume is encapsulated in a thimble (Podgorsak, 2016, p. 741).

### Radiochromic film

(ikke ferdig, why does film response vary with batch)

Radiochromic film is a self-developing film, which reacts when exposed to radiation (McLaughlin & Chalkley, 1965). The film is typically made up of a protective layer and an active layer (see Error! Reference source not found.). The active layer consists of one or two layers of monomers called diacetylene. Monomers are molecules that interact with other monomer molecules to create polymer chains (Monomer | Definition & Facts | Britannica, 2022). When diacetylene is exposed to radiation it polymerizes to create polydiacetylene, changing both the chemical and optical characteristic of the active layer (McLaughlin et al., 1996). 
The color of the film darkens and optical density (OD) can be measured either by measuring light transmitted through the film, or light reflected by the film (Andreo et al., 2017, 562). Radiochromic film is an absolute dosimeter, as OD can be directly related to dose if there is an established conversion of the film response to dose deposited in a reference medium (Devic et al., 2016). It demands calibrating the films and accounting for factors that might change the response, such as time waited after irradiation before scanning the films, temperature and light exposure.

Figure 1-15. Different radiochromic film structures used for external beam therapy (EBT) (Devic et al., 2016). The active layer is made from monomers that polymerize when exposed to radiation, causing a darkening of the film. The optical density (OD) is measured and related to dose.

## Statistics

### Non-linear curve fit

Regression is a tool used for predicting data. In traditional linear regression you have a dataset containing m response/dependent variables y and n explanatory/independent values x. Linear regression tries to fit the equation

| yi =β0+β1x0+β2x1+…+βnxn , | 1-14 |
| --- | --- |

using the method of least squares. I.e., find the line that minimizes deviation between the true response variables yi and the predicted values  yi. The deviation is defined as the cost function, and both linear and nonlinear regression uses the sum of squared residuals (RSS)

| i=0nyi-yi(xi)σy,i2 , where σy,i is the individual weight of the ith residual, which is used when the assumption of approximately equal residual for every yi is not satisfied (Kirkup, 2012, p.226-232). | 1-15 |
| --- | --- |

For linear regression, one can find differentiate the RSS w.r.t. both coefficients β0 and β1 and find a closed form expression for both coefficients (Bingham & Fry, 2010, p.3-5). 
Not all response variables are linearly dependent on the explanatory variable, which might lead to the yi expression in RSS not having a closed form solution when differentiated. The solution is to guess the values of the unknown parameters, then iteratively tune them to find the minimum RSS (Kirkup, 2012, p.335-337).

#### Levenberg-Marquardt algorithm

This section is based on (Gavin, 2020).
Levenber-Marquardt algorithm (LM) combines two minimization methods known as the Gradient descent (GD) and the Gaussian-Newton (GN) method. GD uses the derivative of the RSS to update the parameters towards the steepest descent towards the minimum of RSS. For all n parameters pT=[p0,p1, …, pn] we have a weighted RSS of

| y(x)-yx;pTWy(x)- yx;p , | 1-16 |
| --- | --- |

W is a diagonal matrix with shape m x m for m datapoints, with all the weights on the diagonal.  
Using the second binomial formula we remove the parentheses and get

| yTWy-2yTWy+ yTWy | 1-17 |
| --- | --- |

Differentiating the RSS w.r.t. all parameters we get

-2 y-yTWJ ,

where J is the m x n jacobian matrix containing the partial derivatives of ∂y/∂p, 2 comes from the fact that RSS is squared, and the minus sign is from -y(x;p).  The partial derivatives ∂y/∂p becomes 0 because y does not vary with changing parameters.

Rearranging the expression using the fact that W is symmetrical, the theorem ABT=BTAT and introducing a constant α we get the value h that updates the parameters in the direction of steepest descent

hGD=αJTWy-y.

α is chosen and decides how fast we are moving. Choosing an α too large we risk passing the minimum but choosing one too small we might never reach the minimum.

GN is an expansion of the Newton’s method (Cavazzuti, 2013, p.85). Newton’s method assumes that the RSS function is quadratic near the minimum. This is reasonable because if the RSS function has a minimum, the value will sink to the minimum then increase when passing the minimum like a quadratic function. The quadratic function around the minimum is Taylor expanded and becomes

yp+h≈ y+Jh .

Inserting the approximation for y into the RSS in equation 1-17, we get

yTWy-2yTWy+Jh+y+JhTWy+Jh .

Again, using the second binomial formula and the theorem ABT=BTAT we get

| yTWy+yTWy-2yTWy-2y-yTWJh+hTJTWJh . | 1-18 |
| --- | --- |

Newton’s method differs compared to GD, because it also accounts for the curvature of the RSS function. We therefore differentiate equation 1-18 w.r.t. h to find the one that minimizes RSS. As mentioned, J is the jacobian and differentiating J w.r.t. h  we get a matrix called the hessian matrix. It can be written as the sum (Chen, 2011)

i=0m∂RSSi∂pj∂RSSi∂hk  +yi∂2RSSi∂pj∂hk 1/σy,i  .

In the GN method the second derivative term is assumed to be 0. Going back to matrix notation we are left with

| JTWJ . | 1-19 |
| --- | --- |

This results in the derivative becoming

| -2y-yTWJ+2hTJTWJ . | 1-19 |
| --- | --- |

Setting equation 1-19 equal to 0 and rearranging using the same theorem from before we get

JTWJ hGN=JTW(y-y)

The LM method introduces a dampening link λ, which is scaled according to the diagonal elements of the hessian matrix

(JTWJ+λ diag(JTWJ) ) hLM=JTWy-y .

The dampening factor punishes updated parameters that does not contribute to reduced RSS by increasing λ, and encourage updated parameters that reduce RSS by decreasing λ. The result is a method that acts as GD far from the minimum but becomes GN when approaching the minimum.

### Akaike’s Information Criteria

### Poisson Regression

Poisson regression is a way of predicting discrete count data. It is like linear regression (see 1.6.1) in that it tries to fit a model to data, but the method is different. 
In Poisson regression you assume that your m x 1 response variables in yT=[y0,  y1, …, ym] are Poisson distributed. I.e., it follows the probability mass function (PMF) (Cameron & Trivedi, 2013a, p.3)

Pyi=e-λλyiyi! ,

where it finds the probability of getting yi counts when mean and variance is both equal λ.   Poisson regression tries to estimate λi for every yi in y using the linear model with a set of n x m regressors in X and estimated n x 1 coefficients in β (Cameron & Trivedi, 2013a, p.10)

Eyixi=λi=xiTβ= j=0nxj,iβj,i ,

where xi,j is the jth  of a total of n regressors for the ith datapoint. However, a problem arises if the combination of regressors and coefficients sums to a negative number. The mean counts cannot be negative, we therefore use the natural log of λi

| logλi=j=0nxj,iβj,i→λi= expj=0nxj,iβj,i=exiTβ. | 1-20 |
| --- | --- |

The estimation of coefficients is done using the maximum likelihood estimator (MLE). The likelihood function describes the joint probability of observing all the data y given a set of parameters β represented by

Lβ= j=0nPyiβ = j=0nexp-λiλiyiyi! ,

now inserting the expression for logλi from equation 1-21 we get

j=0nexp-exiTβexiTβyi yi!

It is important to note that the datapoints are assumed independent, which allows us to use the fact that PA∩B=PA⋅P(B). Using the log-likelihood allows us to compute the sum instead (Cameron & Trivedi, 2013b, p.23)

logLβ= j=0n-exiTβ+yixiTβ-logyi! .

Differentiating w.r.t. β and setting the expression equal to zero we get

j=0nyi-exiTβxi =0 .

We want to minimize the difference between yi and exiTβ to maximize the log-likelihood logL (β). The equation does not have a closed form solution and an iteration method is needed to find the best fitting set of parameters β.  Methods such as the ones described in 1.6.1 can be used.

## Radiobiology

Cells are the building blocks of all living things. Animals are made from eukaryotic cells, which contain a nucleus, and the purpose of a cell is converting consumed nutrients into energy needed to perform a task. Such tasks might be to provide structure (bone cells, muscle cells), sensory signaling (nerve cells) or transportation (blood cells). These cells are highly specialized and stem from an unspecialized cell (stem cell) that have finished their chain of cell divisions. 
The process of cell division (proliferation) is sensitive and damaged DNA (deoxyribose nucleic acid) might lead to cancer if not repaired.

### DNA basics

DNA or deoxyribose nucleic acid contains the complete genetic information needed to produce necessary proteins. The DNA is made up of two antiparallel strands (3 to 5 and 5 to 3, see further down for explanation) with a nitrogenous base pair connecting the strands (see Figure 1-17).
The strands consist of nucleotides, which again is broken into a sugar-phosphate backbone and the DNA nitrogenous base (Nucleotide | Biochemistry | Britannica, 2008). There are five bases: Adenine, Guanine, Cytosine, Thymine and Uracil. The first four are in our DNA, and Uracil replaces Thymine in the mRNA (see DNA transcription in Abbreviations and explanations). The bases are divided into two categories: Adenine and Guanine are known as pyrimidines, while Cytosine, Thymine and Uracil are purines. 
If three adjacent bases (not base pairs) code for an amino acid (see proteins in Abbreviations and explanations), it’s called a codon. Gene sequences, which includes codons are called exons, but if they do not include codons, they are called introns. 
The bases form hydrogen bonds to create a base pair, but only with dedicated “partners”. Because of the chemical structure adenine only binds with thymine (or Uracil during DNA transcription), while guanine only binds with cytosine (Mason et al., 2020, p.48). The hydrogen bonds are the first of two bonds between nucleotides. The second bond is the phosphodiester bonds between each sugar-phosphate (see Figure 1-17).

Looking at Figure 1-16 we have a closer look at an individual nucleotide. The carbon atoms in the deoxyribose molecules are marked with numbers 1-5 (Mason et al., 2020, p.47). When a new nucleotide is bound to the existing nucleotide, they can only be connected to the 3 carbon because they are able to chemically interact to create the phosphodiester bond (Mason et al., 2020, p.284).

Figure 1-16. Three molecules making up a nucleotide. The positions of each carbon in the sugar molecule are marked by a number (Mason et al., 2020, p.47).

Figure 1-17. Schematic of DNA double strand (Nucleotide, n.d.)

The DNA strands are twirled around its own axis to form a DNA double strand helix, then they are coiled around proteins known as histones to form a nucleosome. The nucleosomes are folded to produce fibers called chromatin. When a cell is preparing for cell division, the chromatin is tightly coiled into a supercoil (Mason et al., 2020, p.210). However, during interface (see 1.7.2) the DNA needs to be accessible for DNA replication and DNA transcription (Abbreviations and explanations). Therefore, the chromatin is a dynamic structure that condense and decondense according to the needs of the cell (Alberts et al., 2014, p.193). 
When chromatin is folded it forms a chromosome. The chromosome has a centromere which allows for linkage between chromosomes to create chromosome pairs. When chromosomes are connected, we refer to the individual chromosomes as a sister chromatids (Centromere | Biology | Britannica, 2012).

Figure 1-18. Chromosome structure (The Structure and Function of Chromatin, 2017).

### Cell Cycle and Checkpoint

The cell cycle consists of four phases: G1, S, G2 and M (see Error! Reference source not found.). G1 and G2 are the gap phases where cell growth occurs. G2 is the last phase before cell division where all organelles, but the DNA, replicates. During S-phase DNA is replicated. This happens by a series of initiator proteins that open the DNA double helix, creating a replication fork (see Error! Reference source not found.) (Mason et al., 2020, p.293). An enzyme known as helicase separates the strands by disrupting the hydrogen bonds between the base pairs (Matson et al., 1994).  Two DNA-polymerase enzymes are recruited to the DNA strands, with the purpose of generating two new complementary DNA strands. DNA-polymerase is only able to continue an existing complementary strand, therefore RNA-primers (Abbreviations and explanations) are created as a starting point for the DNA-polymerase (Mason et al., 2020, p.293). As mentioned in 1.7.1 new nucleotides can only attach to the 3 carbon. Since the two strands are antiparallel, the 5-3 strand is easy enough to replicate because the DNA-polymerase moves in the same direction as the helicase. This strand is known as the leading strand. But the complementary 3-5 strand must be replicated away from the replication fork. Therefore, the DNA-polymerase must jump back and forth, creating smaller bites of a DNA-strands called Okazaki fragments. Then the RNA primers are removed and the bites are glued together by an enzyme called ligase (Mason et al., 2020, p.292). This strand is known as the lagging strand.

Figure 1-19. Cell cycle schematic, G1, S and G2 phase is known as interphase, where the cell grows and replicates its organelles to prepare for cell division in Mitosis. In Mitosis the cell separates the chromosomes before the cytoplasm is separated, and we are left with two identical daughter cells (Mason et al., 2020, p.212).

Figure 1-20. DNA replication schematic, where DNA is opened, and two complementary strands are created. Nucleotides only binds on 3’-OH group, which affects how the DNA-polymerase connects new nucleotides, leading to a leading strand and a lagging strand (Mason et al., 2020)

M-phase is mitosis and the process of separating the replicated chromosomes before the cytoplasm (medium surrounding the organelles of the cell) is separated to create two identical daughter cells. The process is divided into prophase: where the chromosomes are condensed, and the mitotic spindle apparatus is assembled. Metaphase: where the centromeres of the chromosomes align at the center of the cell. Anaphase: centromeres separate and move towards each pole of the cell, splitting the chromosomes. Telophase: Then the spindle disassembles, and the daughter cells form individual nuclei (Mason et al., 2020, p.214-216). If the cell’s external environment isn’t favorable the cell might enter a resting phase known as G0, where it’s still able to perform its tasks, but does not prepare for cell division (Mason et al., 2020, p.212).

A cell’s progression through the cell cycle is highly regulated. The three checkpoints G1- G2- and M-checkpoint has the task of controlling that the adjoining phase has had enough time to complete its tasks (Alberts et al., 2014, p.967). If the cells were to enter cytokinesis before completely separating the chromosomes, or if the DNA weren’t replicated correctly before entering Mitosis, it would have disastrous consequences.

One very important enzyme in cell cycle progression (see protein in Abbreviations and explanations) is the cyclin dependent kinase (CDK). cdk’s are inactivated unless bound to another protein called cyclin. There are three main categories of cyclins: G1/S- S- and M- cyclins. Their levels rise and fall as the individual cyclins are needed (Mason et al., 2020, p.219). A cdk bound to a cyclin is called a cdk complex. 

For a cell to pass the G1-checkpoint there is a threshold of external and internal signaling levels that needs to be passed, for the cell to enter S-phase. A complex system of positive feedback loops drive the cell over a point called the restriction point (Pardee, 1974). E.g., when enough cdk’s are activated, they will phosphorylate (see Abbreviations and explanations) a protein called Rb (retinoblastoma). If the Rb protein receives two phosphors it will release itself from a protein called E2F, which in turn induce transcription of new cyclins (Alberts et al., 2014, p.1012-1013). E2F also targets a protein on the SCF protein complex, which is important in degradation of the p27 protein, a protein that binds to a cdk complex inhibiting phosphorylation (Yung et al., 2007).

The S-cyclin activated cdk’s phosphorylate proteins, such as activation of DNA helicases responsible for activation of the DNA replication process. The S-cdk is also responsible for the construction of a prereplicative complex (preRC), which ensures that the DNA is only replicated once per cycle (Alberts et al., 2014, p.974).

The G2-checkpoint makes sure that necessary proteins for mitosis are present and that the DNA, as well as all the organelles, has been correctly replicated in S-phase and G2-phase. Both G1- and G2-checkpoints can arrest the cell cycle if DNA-damage is spotted (Studzinski & Danilenko, 2005).

The M-checkpoint is the final checkpoint, and ensures correct separation of chromosomes before cytokinesis (Studzinski & Danilenko, 2005). Another set of positive feedback loops kicks in. A protein called Cdc25 activates M-cdk complexes, which was inactivated by another protein called wee1. These M-cdk complexes begins inhibiting the Wee1 protein, while also induce important events mitotic events (Alberts et al., 2014, p.978).

All checkpoints are controlled by genes that either promote or demote the cell cycle. Cell cycle promoting genes are called proto-oncogenes. If mutated, they become oncogenes and might lead to uncontrolled cell division and cancer (Weinstein, 2002). In the event of oncogene activation, tumor suppressors kick in. Tumor suppressors code for proteins responsible for inhibiting the cdk complexes from operating. Tumor suppressors are also responsible for cell cycle arrest when DNA-damages are detected (Alberts et al., 2014, p.1015), or if DNA-damage is unrepairable it might kill the cell through apoptosis (see Abbreviations and explanations) (Jeffers et al., 2003).

### DNA damage and repair

Ionizing radiation damage the DNA in two ways: Either directly depositing its energy in a biomolecule (see Abbreviations and explanations), or by ionizing molecules surrounding the biomolecules, creating highly reactive radicals that oxidize (loss of electrons) the biomolecules (RADIATION BIOLOGY: A HANDBOOK FOR  TEACHERS AND STUDENTS, 2010). 
DNA is also damaged without being exposed to ionizing radiation. Especially during DNA replication and building of Okazaki fragments (see 1.7.2). About one mistake is made for every 1010 nucleotide (Alberts et al., 2014, p.242). The mistakes might also be spontaneous such as deamination (cytosine become uracil) and depurination (loss of either Adenine or Guanine) (Cooper, 2000a). Even UV-light might cause adjacent pyrimidines to glue together creating a pyrimidine dimer (Mason et al., 2020, p.364).

The mentioned damages are discontinuities in the DNA strands and might be classified as either single strand breaks (SSB) or double strand breaks (DSB). A single strand break only occurs in one DNA strand. If two breaks happen, one on each strand and close in time and space, they are called double strand breaks (Hall & Giaccia, 2012, p.11).   
Damages might also be classified as sublethal, potentially lethal and lethal. Sublethal damages are not lethal, potentially lethal damages are lethal unless repaired and lethal damages are of course beyond repair.     
The cell has many DNA repair pathways, it can remove deaminated bases through base excision or remove whole nucleotides in a pyrimidine dimer with nucleotide excision repair (Hall & Giaccia, 2012, p.16). However, for more complicated damages like DSB’s, more intricate repair mechanisms are needed. 

Nonhomologous end-joining (NHEJ) is a repair mechanism activated in G1. The DNA is yet to be replicated so no sister chromatid is available. The solution is to simply reattach the strands as seen in Figure 1-21. The result is loss of the damaged nucleotides, which might result in removing important exons (see 1.7.1) (Hall & Giaccia, 2012, p. 18).

Homologous recombination (HR) is another repair mechanism, but it is activated late S/G2 with available sister chromatid. The cell searches for a DNA segment on the unharmed sister chromatid, that is similar or identical to the damaged chromatid. This search is performed by one of the damaged strands by invading an unharmed strand and sampling base sequences. When homology is found DNA-polymerase is recruited to extend the damaged strand. The unharmed strand is released and the newly extended strand is used as a template to fix the other damaged strand (Alberts et al., 2014, p.278-279). Both repair mechanisms are illustrated in Figure 1-21 . Compared to NHEJ, HR is less efficient, but no DNA is lost during HR (see Figure 1-21) and DNA is accurately restored (Z. Mao et al., 2008). This underlines the importance of the G2 checkpoint.

Figure 1-21.  (A) Nonhomologous end-joining is DNA repair happening in the G1-phase of the cell cycle, before DNA is replicated. The strands are connected, but the nucleotides that existed on the strand before damaged occurred, are gone. (B) Homologous Recombination during late G2/S phase where sister chromatid is available after DNA replication and completely restores the broken DNA (Alberts et al., 2014, p.275).

Failure of repairing DNA damage might result in severe consequences. An unbound base caused by a DSB easily forms new hydrogen bonds with unbound bases elsewhere on the strand where a DSB has occurred (Hall & Giaccia, 2012, p.25). If enough DSB’s are left unrepaired, or the cell isn’t arrested or the damage occur late in the cell cycle, they can cause severe abnormalities known as chromosomal aberrations (Grote & Revell, 1972). Lethal chromosomal aberrations result in chromosomes that are connected by more than the centromere. This leads to chromosomes not being fully separated during mitosis causing mitotic cell death (Hall & Giaccia, 2012, p.26). Worse is non-lethal chromosomal aberrations. Examples are symmetrical translocation and small deletions. Translocation is when a piece of chromosomes breaks and reattach to another chromosome, while deletion is removal of a piece of chromosome without reattaching. These aberrations are non-lethal because the chromosomes do not attach to each other when they are damaged, and they are able to separate successfully during mitosis (Hall & Giaccia, 2012, p.26-32). But the damages might lead to activation of oncogenes (Nambiar et al., 2008) or inactivation of a tumor suppressor gene (X. Mao et al., 2011).

### Cell Survival Curves

A cell survival curve is a staple in radiobiology and explains the relationship between cell survival S and radiation dose D. If there is enough space and nutrients, a cancer cell will divide indefinitely. The cancer cell is therefore defined as dead if it has completely lost its ability to divide and form colonies, thereby the name clonogenic survival (Hall & Giaccia, 2012, p.35). 
Cancer cells response to irradiation is often studied by in vitro (in cell dish) cell survival experiments. The cells are seeded in monolayers at the bottom of a cell dish with a medium containing all necessary nutrients. The cells are kept in an incubator with ideal growth temperature, and after x number of days they are counted. The cells in a non-irradiated cell dish have a probability of growing into colonies, which is affected by the external environment as well as cell division errors (Hall & Giaccia, 2012, p.36). This efficiency is called the plating efficiency and is represented by the formula

| PE=# colonies counted# cells seeded . | 1-21 |
| --- | --- |

Plating efficiency is used as a normalization factor to accurately compare different experiments with different conditions. The survival fraction of an irradiated cell dish is found using the formula

| SF=# colonies counted# cells seeded⋅PE . | 1-22 |
| --- | --- |

In Figure 1-22 we see a typical cell survival curve, with the natural log of survival as a function of radiation dose. However, it is worth noting that each irradiated dish’s survival constitutes a point on the curve, and the curve is a result of interpolation. The interpolation is decided by a model known as the linear quadratic (LQ) model, which is discussed in 1.7.5.

Figure 1-22. Typical cell survival curve with low and high LET (see 1.1.2) which is typically expressed in the natural log of survival (Giridhar & Rath, 2020).

### LQ-model

This section is based on Chadwick & Leenhouts: A molecular theory of cell survival

The LQ-model tries to explain the shape of the cell survival curve as a function of increasing dose. From Figure 1-22 we see that the survival curve becomes less linear as LET (see 1.1.2) decreases. The increased curvature of the low LET region is known as the “shoulder” of the survival curve. The formula explaining this shape is

| S= e-(αD+βD2), | 1-23 |
| --- | --- |

where D is dose. α and β represents radiosensitivity of the cell (McMahon, 2018). The model assumes that there is a critical molecule crucial for a cell’s ability to divide, and that this molecule is the DNA. It also assumes that DSB is the critical damage type, but that the cell has repair mechanisms that might repair the damage. It accounts for two different DSB events (breakage of chemical bonds in the DNA molecule).

- One event causing one DSB

- Two SSB’s close enough in time and space to create one DSB

α represents mode 1, and β represents mode 2. In α and β we have the probability the chemical bonds, that received dose D, are broken. Represented by

- 1-e-kDΔ

- 1-e-kD(1-Δ)

where k is the probability per bond per unit dose that the bond is broken. Δ is the proportion of dose that breaks the bonds with mode 1, and (1-Δ) is the proportion of dose for mode 2.  Chadwick & Leenhouts showed that the mean number of DSB’s from mode 1 was

A1-e-kΔD ,

where A is the number of bonds on the DNA double helix, where mode 1 DSB’s occur.
A first order Taylor approximation around 0 for e-kΔD gives

A⋅1-1-kΔD=AkΔD

For mode 2 they showed that mean number of DSB’s was

B[1-e-k1-ΔD]2,

where B is number of SSB’s not repaired on both strands, that are also close enough in time and space to constitute a DSB. Doing the same Taylor expansion gives

B⋅1-1-k1-ΔD2=Bk(1-Δ)D2 .

Combining the number of DSB’s from each mode and multiplying with the probability of the DSB’s being repaired f, we get

f⋅AkΔD + Bk1-ΔD2 .

From here they introduced a proportionality constant to relate number of DSB’s to cell death and assumed Poisson distribution (see 1.6.3) to achieve probability of cell survival per dose. Which results in the equation 1-23. This shows why we have a linear and a quadratic link in the LQ-model, which does fit well with the curves we see in Figure 1-22, where the high LET radiation has a denser energy deposition, creating more mode 1 DSBs. And for low LET there is a shoulder caused by accumulation of SSB’s for higher doses creating more mode 2 DSB’s.

The α/β ratio is a typical measurement of sensitivity to fractionation, where you find the dose of equal contribution between α and β (see Figure 1-23). The ratio indicates whether it is reasonable to split the dose into fractions to allow time for repair, thereby extending the shoulder of the survival curve and increasing survival (van Leeuwen et al., 2018). The ratio is found like this (Hall & Giaccia, 2012, p.39)

αD=βD2→D=αβ .

Figure 1-23. Typical cell survival curves for low (blue) and high (red) LET, with α/β ratio illustrated (Hall & Giaccia, 2012,p.39).

Figure 1-24. Early (high α/β) vs late (low α/β) responding tissues. Early responding cells are typically cancer cells because they are always dividing, and (Hall & Giaccia, 2012, p. 395).

### Radiation Induced Bystander Effect

As mentioned in 1.7.3, cells are normally damaged either directly or indirectly. However, it has been showed that non-irradiated cells might exhibit the same biological endpoints (e.g. apoptosis, generation of micronuclei or DNA strand breaks) as irradiated cells. It was shown that 30% of analyzed cells expressed an increase in sister chromatid exchange, even though only 1% of cells were irradiated (SCE,Abbreviations and explanations) (Nagasawa & Little, 1992). This phenomenon is called the radiation induced bystander effect (RIBE). The theory is that irradiated cells signal to non-irradiated cells, either by intracellular communication trough protein channels (Gap junctions) between cells (Mesnil et al., 1996), or intercellular communication by excreting soluble factors into the surrounding medium (Luce et al., 2009). Although the existence of RIBE’s is indisputable, the characteristics of the biological parameters constituting an RIBE is not well defined (Blyth & Sykes, 2011).

It has been shown that a multitude of pathways are involved in RIBE’s, such as p53 (Koturbash et al., 2008), ATM (Ataxia telangiectasia mutated protein) (Ghosh et al., 2015), reactive oxygen species (ROS s) (D. Zhang et al., 2016) and various cytokines (Hu et al., 2014; Shareef et al., 2007).  
We will not discuss the various pathways in detail, but for shorter explanations see Abbreviations. 
The bystander effect can either increase lethality or increase radio resistance. Mothersill & Seymour showed decreased clonogenic survival (see 1.7.4) when medium from irradiated cells were transferred to non-irradiated cells. However, Iyer & Lehnert showed increased clonogenic survival of cells that were irradiated after medium transfer.

Which effect you’ll get is highly dependent on radiation quality (e.g., protons or photons), dose  and which cell line is studied.  A 2004 review on recent developments and implications of bystander effect concluded: For low-LET low dose radiation the protective effects were predominantly protective, but for high-LET it was less clear as both protective and detrimental was observed (Mitchel, 2004). Soleymanifard & Bahreyni found that QU-DB cancer cells had increased production of micronuclei (MN,see Abbreviations and explanations) , while number of MN for MRC5 fibroblasts remained constant.

Because of the bystander effect saturation for increasing dose, you neglect the effect for normal open field radiotherapy, but the effect has been established for SFRT (Spatially Fractionated Radiotherapy), where you have decreased toxicity in low-dose regions and increased survival in high-dose regions compared to open field (Asur et al., 2015). 
Better understanding of the biological mechanisms behind these results are important and has the potential of improving how SFRT (spatially fractionated radiotherapy) is used clinically.

### Spatially Fractionated Radiation Therapy

Spatially fractionated radiation therapy (SFRT) aims to achieve non-uniform dose distribution. It is a stark contrast to traditional radiotherapy where dose uniformity in the target is desirable. GRID therapy is a SFRT method where a photon beam is collimated into a specific pattern with low and high intensity areas, as is shown in Figure 1-25. Traditionally a GRID block was used create high (peak) and low (valley) dose areas (Billena & Khan, 2019). GRID therapy arose from the need of treating deep seated or bulky tumors (Yan et al., 2019). The external beam therapy (EBT) machines of the early 20th century were typically X-ray tubes (1.2.1), and couldn’t create photon beams with energies surpassing kV (Gianfaldoni et al., 2017). Therefore, few photons penetrated deep enough into the skin to reach the tumor. A GRID block was necessary to increase the dose but keep skin toxicity at a tolerable level. When MV photons were introduced with the linear accelerator (LINAC see Abbreviations and explanations) and photon ranges increased, the need for GRID decreased (Yan et al., 2019).
Today there are many ways to apply SFRT. Linear accelerators have preinstalled MLC’s (see Abbreviations and explanations) which can modulate the GRID pattern in a way the static GRID block cannot (Billena & Khan, 2019). Tomotherapy is a treatment method, that combines a CT machine (see Abbreviations and explanations) with a linear accelerator to give radiation treatment in 360∘ degrees (Sterzing et al., 2009). The CT image is used to adjust the position of the patient to ensure that accurate dose is given. Modulation of beam intensity and direction can create a GRID shaped dose distribution (X. Zhang et al., 2016). 
3D SFRT methods have been developed, where the linear accelerator is rotated and the beam is modulated to create a sphere-like dose distribution (Wu et al., 2010).

Figure 1-25. (A) An example of a dose plan for GRID therapy from anteroposterior view of the lung area. The GRID pattern is clearly visible with dose gradients out from the center of the circles. (B) A transversal view of dose plan. Here we also see gradients in dose into the patient as the radiation attenuates into the body  (Billena & Khan, 2019)

From the 1990’s to today, SFRT has primarily been used for palliative (treatment meant as pain relief rather than curing the patient) treatment of bulky (larger than 8 cm) tumors (Yan et al., 2019). However, (Asur et al., 2015) showed cells located in the valley region had overexpressed genes related to DNA-repair, cell cycle arrest and apoptosis. He also showed that cells located in peak areas had increased survival, leading it to believe that inter- and intracellular communication happen between cells (see 1.7.6). There is also evidence of immune system activation by recruitment of T-cells (a type of white blood cell) (Kanagavelu et al., 2014).
These results indicate the potential of SFRT as a curative treatment.

# Materials and Methods

## Dosimetry

We want to establish a 2D survival analysis method for X-ray irradiated A549 cells through a GRID block. It was therefore necessary to accurately measure how much dose was given to the cells. The dosimetry methodology was proposed by Bjørg Vårlig Håland in her master thesis (Bjørg Vårli Håland, 2020).  Gafchromic EBT3 film (Ashland, USA) was chosen as dosimeter for reasons we’ll get into (Error! Reference source not found.). Using the films as an absolute dosimeter (see 1.5) we needed to make a calibration curve. Therefore, X-ray dosimetry on an air-filled thimble ionization chamber (ion chamber) (FC65-G, IBA, Germany) was performed to establish the films’ response to known doses. Calibrations were made for two striped and dotted GRID configurations on the 31.8.21 and 13.10.21.

### X-ray dosimetry

An X-ray beam was generated using a PMC 1000 X-ray unit (PANTAK, USA) operating at 10 mA and 220 kV for sufficient electron fluence from the cathode with high enough energy to generate photons of kV range. We used filtering of 0.7 mm Cu and 1.52 mm of Al. This is a standard in the X-ray lab at medical physics department at the University of Oslo to achieve a more homogeneous energy distribution. The X-ray beam was isolated to a cabinet lined with lead, which we will refer to as the irradiation cabinet. The cabinet has a platform made from Perspex, where cells can be placed a distance away from the X-ray source. A source to detector distance (SDD) of 60 cm (ikke ferdig, hva er usikkerheten her?) was used to ensure the right beam divergence and high enough intensity. The experimental setup can be seen in Figure 2-2.
When cell flasks were irradiated, they were inserted into a cell flask holder made from polymethyl methacrylate (PMMA) holding four cell flasks in position A, B, C and D. To simulate the same conditions, the ion chamber was placed inside a T25 cell flask (Nunc, Denmark) and measurements were performed in all positions as seen in Figure 2-3. Positioning of the cell flask holder on the Perspex platform inside the irradiation cabinet (see Figure 2-2) was decided by field homogeneity measurements performed by Bjørg Vårli Håland. 
The protective cap of the ion chamber slightly lifts the sensitive volume above the bottom of the cell flask (see Figure 2-1), closer to the radiation source, but the cells are seeded in monolayers at the bottom. It is therefore necessary to account for this height difference when prescribing radiation.

Figure 2-1. Ion chamber inserted into a T25 cell flask, that has been cut open. The sensitive volume is surrounded by a graphite wall within the protective cap, and we observe the height difference between the bottom of the cell flask and the cell flask. During experiments efforts were made to position the ionization chamber as flat as possible inside the cell flask. Figure is only for illustration purposes.

Because intensity follows the inverse square law I=α/r2 (see 1.2.1), the ratio between intensity at the sensitive volume of the ion chamber I1 and the intensity at the bottom of the cell flask I2 is

I1I2=r22r12 .

Using a caliper (FWP, Poland). We could obtain a data sheet but based on the smallest measurement possible of 0.01 cm, we assumed an uncertainty of 0.001 cm. The thickness of the cell flask holder and the cell flask bottom was found to be 1.500±0.001 cm and 0.200±0.001 cm, respectfully. The diameter of the protective cap, also measured with a caliper, was 1.500±0.001 cm. Giving a radius of 0.750±0.001 cm.  The ratio becomes (ikke ferdig, hvis usikkerhet i SDD 0.5 cm vi har usikkerhet i ratio på 0.707)

I1I2=60-1.5-0.2260-1.5-0.2-0.752=1.026 .

The intensity in the sensitive volume of the ion chamber is 2.6% higher compared to the bottom of the cell flask, and we need to increase the dose accordingly when irradiating the EBT3 films.

Figure 2-2. An overlook of the experimental setup for X-ray dosimetry. The cell flask holder is placed inside an irradiation cabinet made in-house.

Figure 2-3. A closer look at the experimental setup of X-ray dosimetry. The ionization chamber is inserted into the cell flask, which is placed into the cell flask holder. Ionizations is measured in all four positions.

A max 4000 electrometer (Standard Imaging, USA) was used to measure the ionization current from the ion chamber. Converting the output of the electrometer, from nC in air to Gy [J/kg] in water, was done using the formalism established by the International IAEA explained in 1.5.2

| Dw=MuNkkupukTPμρw,air=CMuNk . | 2-1 |
| --- | --- |

Dw is dose to water, Nk [mGy/nC] is the calibration factor relating ion chamber output to dose in water and is given by the calibration lab (Statens strålevern, Norway). Mu is the output from the electrometer in nC, ku is correction factor accounting for change in ion chamber resulting in a shift in spectral distribution when moving from air to water.  pu corrects for effects caused by the ion chamber displacing the water.  μ/ρw,air is mass energy absorption coefficient (see 1.3.1) ratio between water and air averaged over the photon energy spectrum. kTP is when air pressure and temperature conditions are different, than that of the calibration lab. kTP is found using the formula

kTP=273.15-T273.15+T0P0P  ,

where T and P is temperature and air pressure during measurements, and T0 and P0 is temperature and air pressure during calibration using reference conditions. T0=20∘C, P0=1013 Pa. Updated Correction factors and mass energy absorption coefficient rates were found in  (Waldeland et al., 2010) (see Table 1).

Table 1. Calibration factor Nk with correction factors and mass energy absorption coefficient ratio. Two experiments were performed using dotted and striped GRID configurations with different temperature and air pressure conditions.

| Nk [mGy/nC] | pu | ku | kTP (310821, stripes) | kTP (131021, dots) | μ/ρairw |
| --- | --- | --- | --- | --- | --- |
| 43.77±0.39 | 1.02 | 1 | 1.006745405 | 1.021463 | 1.075 |

The ionization chamber was irradiated 5, 10, 15, 20 and 60 seconds 3-4 times in each position. We wanted the calibration films to receive doses that correlated with doses the cells would receive during GRID irradiation. Hence, dose points of 0 (control), 0.1, 0.2, 0.5, 1, 2, 5, 10 Gy were chosen. Because of potential delay in beam production from the X-ray machine, we needed to make sure that there was a linear relationship between irradiation time and the lowest doses (0.1, 0.2, 0.5 Gy).  Using linear regression (see 1.6.1) we find a regression model for each position, then find the mean of these to get

t=β0+β1D ,

where β0, β1 are mean coefficients and D is dose.

For doses above 0.5 Gy we assumed linearity. So, we only made one 60 second measurement found the doserate and extrapolated to 2, 5 and 10 Gy.

We assumed that the uncertainties were connected to Nk and Mu, respectively. Using the standard equation for error propagation with independent variables for a function f(x1, x2…xn)

| df= 1n∂f∂xiΔxi2 . | 2-2 |
| --- | --- |

The uncertainty for Dw from 2-1 becomes

dDw=CMu⋅ΔMu2+CNk⋅ΔNk2 .

### Gafchromic film

Figure 2-4. Figure illustrating importance of having a rectangle with two clearly different sides. The left side has a small difference in height and width. When the film is flipped and rotated 90∘it is hard to observe the rotation. But if the sides are clearly different, then it becomes clear that the film is oriented in the wrong direction.

The protocol for Gafchromic film calibration follows the protocol established by (Devic et al., 2016) in: 
“Reference radiochromic film dosimetry: Review of technical aspects”. 

The Gafchromic EBT3 films (ikke ferdig, navn på batch) were chosen because they give a high spatial resolution 2D dose distribution, and they can be neatly fitted to a cell flask. The near tissue equivalent property of the films offers comparative dose measurements to cells suspended in medium. The polymerization process (see 1.5.3) changes the color of the film post irradiation, and because of its low sensitivity to light, it’s unnecessary to develop the film (Niroomand-Rad et al., 1998). 
EBT3 was chosen because of its symmetric chemical configuration (see Figure 1-15), with a 125 μm protective matt polymer layer on both sides of a 26 μm active layer. The implementation of a matte polyester protective layer instead of the smooth layer found in EBT2 removes the generation of the newton ring artefacts when scanning the films (GafChromic, n.d.). The films have a dose range of 0.1 – 10 Gy. Their optical density is known to change from exposure to UV light, temperature and humidity (Girard et al., 2012; Park et al., 2012), the films were therefore handled using gloves in a room with dark curtains, and stored in a room tempered dark drawer. Because of the external influences in film response, it was important to have a set of control films, that received zero dose.

#### Film irradiation

As mentioned in 1.5.3, we needed to establish a calibration curve. Two calibrations were performed on two separate dates, one for striped and one for dotted GRID configurations respectively. The method was mostly the same for both, except for dotted GRID where no open field irradiations were performed, and the size of the calibration films were different. The films were cut using a regular A4 paper cutter, that was sanitized before use. The calibration films for striped GRID were cut to a size of 4.3 x 4.1 cm2. It has been shown that the scan response is sensitive to the direction of the film (Borca et al., 2013). A cut is therefore made on the top right corner of the longest side. The chosen size made it hard to detect which side was the longest. If the film was not handled properly and the film was flipped, one could not trust that the orientation was correct based on the cut. The scenario is illustrated in Figure 2-4. For dotted GRID, we increased the difference between width and height. 
The T25 cell flasks were cut horizontally, and one film was placed inside each flask. The films were then irradiated in all positions simultaneously, twice per dose point. Thus, giving each dose point eight calibration films. 
A thin slab of 2 mm nylon6 (polymer) was placed on top of the films to act as a buildup material. The material filters low energy electrons, ensuring CPE within the sensitive layer. Because the ionization chamber has a protective cap, the nylon6 slab will increase the similarity between film- (see Figure 2-5) and ionization chamber (see Figure 2-2 and Figure 2-3) experimental setups. For calibration no GRID was used. The films were irradiated with the exposure times found in 2.1.1. The ODs from these films were used to generate a calibration curve. We will come back to this in (ref here).

Figure 2-5. The experimental setup for GRID irradiation of gafchromic films. For calibration, no GRID was used.

A new set of films were, to our best efforts, cut to match the shape of the bottom of the cell flasks. These will be called the measurement films. The films were given nominally 5 Gy. Then their response was mapped to the calibration curve. We irradiated films using the same experimental setup shown in Figure 2-5.. Four films were irradiated simultaneously in all four positions. This was repeated four times for OPEN field and GRID. Thus, resulting in 16 films per configuration.

Two in-house 0.5 cm tungsten metal collimators of different grid patterns were constructed to be placed on top of the cell flasks laying in the cell flask holder (see Figure 2-6). The GRID’s create high and low dose areas, called peak and valley. The high atomic number of tungsten (see 1.2.1) makes tungsten a great photon absorber. It is well known that collimating an X-ray beam results in increased scattering (Philip Mayes et al., 2007, p.377). The high density of tungsten allows for a thinner design, thereby mediating the scattering within the openings of the GRID. Because of poor cutting accuracy, the measurement films did not fit perfectly into the cell flask, causing them to have small variations in how they lay inside the flask. This resulted in slightly skewed response patterns after irradiations.

Figure 2-6. Illustration of how the Gafchromic films were positioned underneath the different GRID configurations. The films were of equal size in both GRID configurations, but the size has been modified to fit the illustrations. The blue lines indicate the outline of the cell flasks, and the background represents the cell flask holder.

#### Scanning

To ensure a stable and saturated optical density of the films, we waited 48 hours after irradiation before scanning the films (Devic et al., 2005).

An Epson Perfection V850 Pro flatbed scanner was used to digitize the films’ radiation response. The films were placed in a central area of the scanner to minimize variations in scan readings (Lewis & Chan, 2015). Transmission mode was chosen, as recommended by (Aldelaijan & Devic, 2018). Using the Epson scan tool v.5.1 software we turned off all automatic image corrections and adjustments to only extract raw data. Resolution of 300 dpi was chosen to achieve high enough spatial resolution while having a reasonable scanning time. A 16-bit color depth per channel (0 - 216) RGB image was chosen for satisfactory intensity resolution. The scanner was allowed time to warm up for 30 minutes, then 10 dummy scans was performed to limit warm-up effects causing variations in response readings (Paelinck et al., 2006). Four scans were done per film. For a complete opaque film, light transmission should be zero. However, there will always be background noise. We tried to mediate the background by scanning a black film and subtracted its OD from the irradiated films.

The images were saved as TIFF (Tag Image File Format) without compression to retain as much information as possible from the images.

#### Film calibration

Calculating OD from the scanned images requires image processing using python. An overview of the methodological pipeline can be seen in (ref here). First the raw data of the images were read and separated into a red, green, blue, and grey channel. Grey channel conversion follows rec 601 (Recommendation ITU-R BT.601-7, 2011) using the formula

IG=0.299⋅IR+0.587⋅IG+0.114⋅IB ,

where I is intensity. Because of the different response patterns mentioned in 2.1.2.1 film registration was necessary to achieve geometrical alignment of the films. The only possible displacements were rotational and translational; hence a rigid body registration was done. A python package called pystackreg (version 0.2.5) was used. The package is a port of the imageJ extension TurboReg/StackReg written by Thevenaz et al.. and is based on his paper: 
“A Pyramid Approach to Subpixel Registration Based on Intensity”.

Turboreg is a subpixel registration algorithm that aligns a source image fS to a reference image fR, both with dimension M x N. Subpixel means that the algorithm has an error less than ± 1 pixel. Turboreg uses the integrated square difference of the intensity values as a cost function denoted by ϵ2

ϵ2=∫∫fRx,y-QPfSx,y dxdy =fRx,y-QpfSx,y2 ,

where Qp is a transformation of the source image (e.g., translation, rotation scaling etc.) parametrized by P. The goal is finding a transformation that minimizes the intensity difference, by tuning the parameters in P.

∂ϵP2∂P=0

The algorithm uses a modified LM (see 1.6.1 for general LM) to find the optimal parameters. When a minimum is reached, or number of maximal iterations surpasses, it returns a 3 x 3 transformation matrix. To optimize the registration various degrees of preprocessing was necessary. Pystackreg tended to align the background of the image, rather than the object within. Therefore, a small crop into the image was done. When registering the measurement films, it was necessary to dull the intensity of the background as well as cropping the image. For survival analysis, which we will get into in (ref here), dosimetry films were registered to the scanned images of the cell flasks. Because of the increased difference, it was necessary to create binary maps to enhance the similar shapes of the images. E.g., for striped GRID we see a dark striped patches in the peak area. In the cell flasks you see a decrease in survival in the same area.

We chose to use a package called skimage.transform, which includes a function called warp. Warp both applies the transformation matrix on an image and interpolates. Interpolation is necessary because when an image is transformed, each pixel is mapped into a new coordinate Px,y→P'(x',y') (Ashburner & Friston, 2007). For instance, rotating an image is done by applying the rotational matrix R on each coordinate of the image

x'y'= cosθ-sinθsinθcosθ xy.

It results in non-integer coordinates with unknown intensity values. The easiest solution is to round the coordinates to nearest integer and use the intensity values of these coordinates (called nearest neighbor interpolation). However, a more accurate interpolation was used called bi-cubic interpolation. We will not go into detail, but the method looks at the 16 neighboring pixels and estimates the unknown pixel’s intensity value from these (Han, 2013).

Write about the netOD calculation, including uncertainty.

We will use the standard deviation of pixel values σPVctrl as ΔPVctrl because we assume that random error

| netOD=ΔOD=log10PVctrl-PVbckgPVirr-PVbckg , | 2-3 |
| --- | --- |

where PVctrl is weighted average pixel value within the ROI of the control images, PVbckg is the weighted average pixel value within the ROI of the background images (black films) and PVirr is the pixel values of the irradiated films. Using equation 2-2 we estimate the error in netOD

| σnetOD=1ln10∂ΔOD∂PVctrl2⋅σPV2ctrl + ∂ΔOD∂PVbckg2⋅σPV2bckg+∂ΔOD∂PVirr2⋅σPV2ctrl =1ln10σPVctrlPVctrl-PVbckg2+σPVirrPVirr-PVbckg2+PVctrl-PCbckgPVirr-PVbckgPVctrl-PVbckg2σbckg2 | 2-4 |
| --- | --- |

Write about fitting using the LM method

Write about how the uncertainty in the estimated parameters were found.

Write about how the model was evaluated without R2, but by initializing the algorithm for different starting points and how it converges toward the same result.

Write about choosing ROI and how they were evaluated using relative error for open field irradiation.

Write about split response

Write about KDE for separating high and low response

Write about converting the measurement films from netOD to dose, and how dose profiles were found.

Image acquisition: 
Extracting the control, background, and measurement images from the correct folders.

Color channel extraction: 
We will perform dosimetry on all color channels, then choose which gives the most information.

Image registration:
Want to have pixel by pixel correspondence between the images, because they have been positioned differently inside the flask causing shifts.

netOD calculation:
Converting intensity values to netOD

Dose calculation:
Fitting the netOD model and converting netOD of all images to dose.

Red channel dosimetry (Micke et al., 2011)

Todo:

Sjekk at alle 4 scans er ikke signifikant forskjellige. 
undersøk gjennomsnittlig OD for filmene.
Undersøk usikkerhet i OD
Legg inn errorbars og confidence interval

Talk about image registration

Then talk about choosing correct ROI

Then talk about OD calculations and uncertainties

Then talk about choosing the right model using Akaike

## Cell Experiments

Cell experiments were performed by Magnus Børsting in his master thesis: 
“GRID irradiation and bystander effect in lung cancer cells”(Magnus Børsting, 2020, 45-56).

A549 cells were chosen for in vitro GRID irradiation. The cell line is a alveolar basal epithelial cancer cell originating from the study of 200 human tumors, where the goal was to establish cell lines (Giard et al., 1973). An alveolar cell originates from the alveoli of the lungs, which are small cavities that exchange oxygen for carbon dioxide. Epithelial cells are cells that covers the surface areas of the body (Epithelium | Anatomy | Britannica, 2009).  Basal means that the cell is found in the lower parts of the epithelium (Morgenroth & Ebsen, 2008, p.70).     
30 000 cells were seeded with 6 ml growth medium in a T25 cell flask (Nunclon, Denmark) with 25 cm2 cell culture area. The cells were incubated in an incubator (Thermo, USA) holding 37∘C with a CO2 percentage of 5%. The number of 30 000 was found by Magnus Børsting after performing a pilot experiment where different cell densities were used. All experiments used 30 000 cells to remove variability in survival that occurs for different cell densities. The number was chosen because it best balances the need of having enough cells to measure the effect of high doses, but small enough that it is possible to identify individual colonies.

The irradiations of the cells were done using the same experimental setup as shown in Figure 2-5, and the same X-ray beam settings were chosen, with the same filtration. The differences were that no Gafchromic film or nylon6 slab was used. The cells are as mentioned seeded at the bottom of the cell flask, with medium covering the cells acting as the buildup material. The irradiation cabinet seen in Figure 2-2 has a heater, ensuring the ideal temperature of 37∘C. 
Nominal doses of 2, 5 and 10 Gy were chosen. Four flasks were used per dose point, including control flasks. The irradiation was done for OPEN field, GRID stripes and GRID dots.

A colony is a cluster of more than 50 cells (Franken et al., 2006). Number of colonies formed after irradiation was our metric of survival. It was chosen to wait six days before fixating the cells, seeing that a typical doubling times for A549 cells is 22 h (A549 Cell Subculture Protocol – A549 Cell Line, n.d.). Fixation of cells is the process of fixing the cells in their position and terminating all ongoing biological mechanisms, essentially killing them and disabling their natural degradation mechanisms so they can be viewed in a microscope (Panzacchi et al., 2019).
3 ml of Ethanol was used to fixate. Ethanol was chosen because it is fast and has optimal preservation of cell structure (Rahman et al., 2022).
The number of surviving colonies was counted using a segmentation algorithm, it was therefore necessary to stain the cells to make it easier for the algorithm to separate individual colonies. 3 ml of methylene blue dye was added. Because of a specific chemical reaction that only occurs in living cells, only dead cells are colored by the dye (O’Connor-Cox et al., 1997).

After fixation and staining the cell flasks with cells were scanned by Bjørg Vårli Håland the same way as the EBT3 films (see 2.1.2.2), except for a dpi of 1200 with the resolution of 2220 x 2976 x 3. The cell flasks have a height making it impossible to close the scanner completely. The scans of the cell flasks will therefore have a slight angle, causing a sharp dark shadow on the image.

## Segmentation

Segmentation of cells was performed by Delmon Arous in the article: 
“Principal component-based image segmentation: a new approach to outline in vitro cell colonies”. (Arous et al., 2022). 

This section uses the same notation found in (Strang, 2006, p.425-427).
The scanned cell flask images were segmented using a combination of PCA, GLCM, k-means and topological multi-threshold watershed. PCA is principal component analysis and aims to reduce the dimensionality of the image while retaining most of its variation (Jolliffe, 2002, p. IX). For easier understanding one scanned image of a cell flasks is used as an example. The dimension of the image is M x N x 3. By collapsing the first two dimensions and transposing the matrix, you get the matrix X ϵ R3 x MN. Each column represents the RGB values ri, gi, biT. The data is centered around the origin by subtracting the mean μ ϵ R3 x 1 of each row of X from the ri, gi and bi values, to generate X=X-μ. The covariance matrix C ϵ R3 x 3 is generated from X and explains how the color channel intensity values r, g and b vary among themselves.

Through Singular Value Decomposition (SVD), which will not be elaborated further, the eigenvectors of C is found and represented by the matrix P=[u1, u2, u3]  ϵ R3 x 3. The eigenvectors are ordered in descending order, from highest to lowest variance. The important thing to note is that the eigenvectors are per definition uncorrelated, so they represent different parts of the image. It is therefore possible to isolate the eigenvector that represents the variance of the clusters of cell colonies in the image. Using the eigenvectors, you can transform the data in X into the PCA space using the transformation

Y=PX=u1T Xiu2T Xiu3T Xi ,

where Y are the new pixel values in the transformed data. Y is divided into three parts IPCA1,IPCA2 and IPCA3, which is named the PCA images with dimension 1 x MN. Deciding which image that contains cell colony variance was decided using the Grey-level co-occurrence matrix (GLCM) (Haralick et al., 1973), assuming that the suitable IPCA is composed of pixel values that are insensitive to and suppress the presence of various high-contrast artefacts, such as contaminants or residue in the suspension medium, shadow artefacts or background noise from the scan acquisition and the cell container boundary.

With a suitable ICPA it was necessary to distinguish background from foreground. I.e., cell colonies from black background. Using k-means on clusters of 9 pixels (one central pixel, with eight surrounding pixels), the pixels were assigned to either foreground or background (Lloyd, 1982). The resulting matrix is a binary mask (only two intensity values) with foreground objects named Binary Large Objects or BLOBs.

Topological multi-threshold watershed segmentation is applied to separate the BLOBs (see Figure 2-7) into individual colonies (Khan et al., 2016). The watershed works by identifying parts of an image with local intensity minima known as catchment basins. These areas are filled with colors to identify different objects within the image (Preim & Botha, 2014, p.130). If watershed was used on the original scanned images, which does contain noise, dust etc. it would see all these artefacts as cell colonies. But because the BLOB’s coordinates were extracted using PCA, they are independent from the mentioned artefacts. Each BLOB was searched for local minima in intensity, but watershed has a tendency to over-segment an image caused by naturally occurring variations in intensity (Preim & Botha, 2014, p.130), therefore minima with depth less than a threshold value h was suppressed.

Figure 2-7. An example of a BLOB in the scanned cell flask.

Then talk about cell survival and what was done

We assumed neglectable scale difference between cell scan and film scan. Explain why

The question is, do we risk losing valuable information by downsampling cell colony image or risk adding information that’s not there to the dose image.

Caliper smallest measurement is 0.02 cm = 0.2 mm

Used caliper with 0.001 cm uncertainty

Used Nylon 6 to have equality between ion chamber and film irradiation

Irradiated x seconds to achieve 0.1 0.2 … 10 Gy For calibration curve all four positions twice

Measurement films shaped 5 Gy four positions four times

Open and GRID stripes

131021 
Only GRID

Scanning 48 hours later, transmission mode, name , 300 dpi, no image correction or adjustment, only raw data, pixel resolution

48 hours to ensure long enough time

Husk å se på tidligere artikler

Image registration pystackreg based on turboreg in imagej which is based on a pyramid approach

# Discussion

Klassen et al. proposed cleaning the films, because of their tendency to gather dust. This was not discovered until after the experiments were performed.

Maybe we got two responses because we didn’t manage to only scan in one direction, because of the long side not being long enough. But then why did it also appear 13.10 when we ensured correct orientation by making the longer side longer to enhance the difference.

# References

A549 Cell Subculture Protocol – A549 Cell Line: Cell Culture and Transfection Protocol. (n.d.). Retrieved April 5, 2022, from https://www.a549.com/cell-subculture-protocol/

Adenosine triphosphate | Definition, Structure, Function, & Facts | Britannica. (2020, March 12). https://www.britannica.com/science/adenosine-triphosphate

Aksnes, I. (2020, November 8). History of X-rays—125 years in the making (pt 2). Excillum. https://www.excillum.com/history-of-x-rays-x-ray-tubes/

Alberts, B., Johnson, A., Lewis, J., Raff, M., Roberts, K., & Walter, P. (2014). Molecular Biology of the Cell (6th ed.). Garland Science.

Aldelaijan, S., & Devic, S. (2018). Comparison of dose response functions for EBT3 model GafChromicTM film dosimetry system. Physica Medica, 49, 112–118. https://doi.org/10.1016/j.ejmp.2018.05.014

Alm Carlsson, G. (2001). Bragg-Gray Dosimetry: Theory of Burch. Linköping University Electronic Press. http://urn.kb.se/resolve?urn=urn:nbn:se:liu:diva-57834

Alm Carlsson, G. (2002). Spencer-Attix Cavity Theory. Linköping University Electronic Press. http://urn.kb.se/resolve?urn=urn:nbn:se:liu:diva-57893

Amiri, S., Ali, P. J. M., Mohammed, S., Hanus, R., Abdulkareem, L., Alanezi, A. A., Eftekhari-Zadeh, E., Roshani, G. H., Nazemi, E., & Kalmoun, E. M. (2021). Proposing a Nondestructive and Intelligent System for Simultaneous Determining Flow Regime and Void Fraction Percentage of Gas–Liquid Two Phase Flows Using Polychromatic X-Ray Transmission Spectra. Journal of Nondestructive Evaluation, 40(2), 47. https://doi.org/10.1007/s10921-021-00782-w

Andreo, P. (2015). Dose to ‘water-like’ media or dose to tissue in MV photons radiotherapy treatment planning: Still a matter of debate. Physics in Medicine and Biology, 60(1), 309–337. https://doi.org/10.1088/0031-9155/60/1/309

Andreo, P., Burns, D. T., Nahum, A. E., Seuntjens, J., & Attix, F. H. (2017). Chemical Dosimeters. In Fundamentals of Ionizing Radiation Dosimetry (1st ed., pp. 562–562). John Wiley &amp; Sons, Incorporated.

Apoptosis | cytology | Britannica. (2013, September 27). https://www.britannica.com/science/apoptosis

Arous, D., Schrunner, S., Hanson, I., Frederike Jeppesen Edin, N., & Malinen, E. (2022). Principal component-based image segmentation: A new approach to outline in vitro cell colonies. Computer Methods in Biomechanics and Biomedical Engineering: Imaging & Visualization, 0(0), 1–13. https://doi.org/10.1080/21681163.2022.2035822

Ashburner, J., & Friston, K. (2007). CHAPTER 4—Rigid Body Registration. In K. Friston, J. Ashburner, S. Kiebel, T. Nichols, & W. Penny (Eds.), Statistical Parametric Mapping (pp. 49–62). Academic Press. https://doi.org/10.1016/B978-012372560-8/50004-8

Asur, R., Butterworth, K. T., Penagaricano, J. A., Prise, K. M., & Griffin, R. J. (2015). High dose bystander effects in spatially fractionated radiation therapy. Cancer Letters, 356(1), 52–57. https://doi.org/10.1016/j.canlet.2013.10.032

Attix, F. H. (1986). Introduction to Radiological Physics and Radiation Dosimetry. John Wiley & Sons.

Attix, F. H. (2008). Introduction to Radiological Physics and Radiation Dosimetry. John Wiley & Sons.

Billena, C., & Khan, A. J. (2019). A Current Review of Spatial Fractionation: Back to the Future? International Journal of Radiation Oncology*Biology*Physics, 104(1), 177–187. https://doi.org/10.1016/j.ijrobp.2019.01.073

Bingham, N. H., & Fry, J. M. (2010). Regression. Springer London. https://doi.org/10.1007/978-1-84882-969-5

Biomolecule | Definition, Structure, Functions, Examples, & Facts | Britannica. (2020, March 18). https://www.britannica.com/science/biomolecule

Bjørg Vårli Håland. (2020). 2D dosimetry and radiobiological  modelling in GRID therapy. University of Oslo.

Blyth, B. J., & Sykes, P. J. (2011). Radiation-induced bystander effects: What are they, and how relevant are they to human radiation exposures? Radiation Research, 176(2), 139–157. https://doi.org/10.1667/rr2548.1

Borca, V. C., Pasquino, M., Russo, G., Grosso, P., Cante, D., Sciacero, P., Girelli, G., Porta, M. R. L., & Tofani, S. (2013). Dosimetric characterization and use of GAFCHROMIC EBT3 film for IMRT dose verification. Journal of Applied Clinical Medical Physics, 14(2), 158–171. https://doi.org/10.1120/jacmp.v14i2.4111

Cameron, A. C., & Trivedi, P. K. (Eds.). (2013a). Introduction. In Regression Analysis of Count Data (2nd ed., pp. 1–20). Cambridge University Press. https://doi.org/10.1017/CBO9781139013567.004

Cameron, A. C., & Trivedi, P. K. (Eds.). (2013b). Model Specification and Estimation. In Regression Analysis of Count Data (2nd ed., pp. 21–68). Cambridge University Press. https://doi.org/10.1017/CBO9781139013567.005

Cavazzuti, M. (2013). Optimization Methods. Springer Berlin Heidelberg. https://doi.org/10.1007/978-3-642-31187-1

Centromere | biology | Britannica. (2012, May 24). https://www.britannica.com/science/centromere

Chadwick, K. H., & Leenhouts, H. P. (1973). A molecular theory of cell survival. Physics in Medicine and Biology, 18(1), 78–87. https://doi.org/10.1088/0031-9155/18/1/007

Chen, P. (2011). Hessian Matrix vs. Gauss–Newton Hessian Matrix. SIAM Journal on Numerical Analysis, 49(4), 1417–1435. https://doi.org/10.1137/100799988

Cooper, G. M. (2000a). DNA Repair. The Cell: A Molecular Approach. 2nd Edition. https://www.ncbi.nlm.nih.gov/books/NBK9900/

Cooper, G. M. (2000b). DNA Replication. The Cell: A Molecular Approach. 2nd Edition. https://www.ncbi.nlm.nih.gov/books/NBK9940/

Devic, S., Seuntjens, J., Sham, E., Podgorsak, E. B., Schmidtlein, C. R., Kirov, A. S., & Soares, C. G. (2005). Precise radiochromic film dosimetry using a flat-bed document scanner. Medical Physics, 32(7Part1), 2245–2253. https://doi.org/10.1118/1.1929253

Devic, S., Tomic, N., & Lewis, D. (2016). Reference radiochromic film dosimetry: Review of technical aspects. Physica Medica, 32(4), 541–556. https://doi.org/10.1016/j.ejmp.2016.02.008

Einstein, A., & Infeld, L. (1938). Evolution of Physics. Simon and Schuster.

Epithelium | anatomy | Britannica. (2009, April 1). https://www.britannica.com/science/epithelium

Franken, N. A. P., Rodermond, H. M., Stap, J., Haveman, J., & van Bree, C. (2006). Clonogenic assay of cells in vitro. Nature Protocols, 1(5), 2315–2319. https://doi.org/10.1038/nprot.2006.339

GafChromic. (n.d.). 1GafChromic®EBT2 and EBT3 Films for Ball Cube II Phantom. Retrieved March 31, 2022, from https://hobbydocbox.com/Photography/67018394-Gafchromic-ebt2-and-ebt3-films-for-ball-cube-ii-phantom.html

Galvin, J. M., Smith, A. R., & Lally, B. (1993). Characterization of a multileaf collimator system. International Journal of Radiation Oncology*Biology*Physics, 25(2), 181–192. https://doi.org/10.1016/0360-3016(93)90339-W

Gavin, H. P. (2020). The Levenberg-Marquardt algorithm for nonlinear least squares curve-ﬁtting problems. 19.

Ghosh, S., Ghosh, A., & Krishna, M. (2015). Role of ATM in bystander signaling between human monocytes and lung adenocarcinoma cells. Mutation Research/Genetic Toxicology and Environmental Mutagenesis, 794, 39–45. https://doi.org/10.1016/j.mrgentox.2015.10.003

Gianfaldoni, S., Gianfaldoni, R., Wollina, U., Lotti, J., Tchernev, G., & Lotti, T. (2017). An Overview on Radiotherapy: From Its History to Its Current Applications in Dermatology. Open Access Macedonian Journal of Medical Sciences, 5(4), 521–525. https://doi.org/10.3889/oamjms.2017.122

Giard, D. J., Aaronson, S. A., Todaro, G. J., Arnstein, P., Kersey, J. H., Dosik, H., & Parks, W. P. (1973). In vitro cultivation of human tumors: Establishment of cell lines derived from a series of solid tumors. Journal of the National Cancer Institute, 51(5), 1417–1423. https://doi.org/10.1093/jnci/51.5.1417

Girard, F., Bouchard, H., & Lacroix, F. (2012). Reference dosimetry using radiochromic film. Journal of Applied Clinical Medical Physics, 13(6), 339–353. https://doi.org/10.1120/jacmp.v13i6.3994

Giridhar, P., & Rath, G. K. (2020). Clinical Significance of Cell Survival Curves. In S. Mallick, G. K. Rath, & R. Benson (Eds.), Practical Radiation Oncology (pp. 171–175). Springer. https://doi.org/10.1007/978-981-15-0073-2_27

Goel, A. (2021a, September 19). Filament circuit | Radiology Reference Article | Radiopaedia.org. Radiopaedia. https://doi.org/10.53347/rID-29738

Goel, A. (2021b, September 20). Filters | Radiology Reference Article | Radiopaedia.org. Radiopaedia. https://doi.org/10.53347/rID-29737

Grieken, R. van, & Markowicz, A. (1993). Handbook of X-ray spectrometry: Methods and techniques. Marcel Dekker.

Grote, S. J., & Revell, S. H. (1972). CORRELATION OF CHROMOSOME DAMAGE AND COLONY-FORMING ABILITY IN SYRIAN HAMSTER CELLS IN CULTURE IRRADIATED IN G. Curr. Top. Radiat. Res. Quart. 7: No. 3, 303-9(Jun 1972). https://www.osti.gov/biblio/4599614

Hall, E. J., & Giaccia, A. J. (2012). Radiobiology for the radiologist (7th ed). Wolters Kluwer Lippincott Williams & Wilkins.

Han, D. (2013). Comparison of Commonly Used Image Interpolation Methods. 1556–1559. https://doi.org/10.2991/iccsee.2013.391

Haralick, R. M., Shanmugam, K., & Dinstein, I. (1973). Textural Features for Image Classification. IEEE Transactions on Systems, Man, and Cybernetics, SMC-3(6), 610–621. https://doi.org/10.1109/TSMC.1973.4309314

Harding, S. M., Benci, J. L., Irianto, J., Discher, D. E., Minn, A. J., & Greenberg, R. A. (2017). Mitotic progression following DNA damage enables pattern recognition within micronuclei. Nature, 548(7668), 466–470. https://doi.org/10.1038/nature23470

High Accuracy Electrometers for Low Current/High Resistance Applications | Tektronix. (n.d.). Retrieved March 28, 2022, from https://www.tek.com/en/documents/brochure/high-accuracy-electrometers-low-current-high-resistance-applications

Hu, W., Xu, S., Yao, B., Hong, M., Wu, X., Pei, H., Chang, L., Ding, N., Gao, X., Ye, C., Wang, J., Hei, T. K., & Zhou, G. (2014). MiR-663 inhibits radiation-induced bystander effects by targeting TGFB1 in a feedback mode. RNA Biology, 11(9), 1189–1198. https://doi.org/10.4161/rna.34345

Iyer, R., & Lehnert, B. E. (2002). Low dose, low-LET ionizing radiation-induced radioadaptation and associated early responses in unirradiated cells. Mutation Research/Fundamental and Molecular Mechanisms of Mutagenesis, 503(1), 1–9. https://doi.org/10.1016/S0027-5107(02)00068-4

Jeffers, J. R., Parganas, E., Lee, Y., Yang, C., Wang, J., Brennan, J., MacLean, K. H., Han, J., Chittenden, T., Ihle, J. N., McKinnon, P. J., Cleveland, J. L., & Zambetti, G. P. (2003). Puma is an essential mediator of p53-dependent and -independent apoptotic pathways. Cancer Cell, 4(4), 321–328. https://doi.org/10.1016/S1535-6108(03)00244-7

Jolliffe, I. T. (2002). Principal component analysis (2nd ed). Springer.

Kanagavelu, S., Gupta, S., Wu, X., Philip, S., Wattenberg, M. M., Hodge, J. W., Couto, M. D., Chung, K. D., & Ahmed, M. M. (2014). In Vivo Effects of Lattice Radiation Therapy on Local and Distant Lung Cancer: Potential Role of Immunomodulation. Radiation Research, 182(2), 149–162. https://doi.org/10.1667/RR3819.1

Khan, A. ul M., Mikut, R., & Reischl, M. (2016). A New Feedback-Based Method for Parameter Adaptation in Image Processing Routines. PLOS ONE, 11(10), e0165180. https://doi.org/10.1371/journal.pone.0165180

Kirkup, L. (2012). Data Analysis for Physical Scientists: Featuring Excel® (2nd ed.). Cambridge University Press. https://doi.org/10.1017/CBO9781139005258

Klassen, N. V., van der Zwan, L., & Cygler, J. (1997). GafChromic MD-55: Investigated as a precision dosimeter. Medical Physics, 24(12), 1924–1934. https://doi.org/10.1118/1.598106

Koturbash, I., Loree, J., Kutanzi, K., Koganow, C., Pogribny, I., & Kovalchuk, O. (2008). In Vivo Bystander Effect: Cranial X-Irradiation Leads to Elevated DNA Damage, Altered Cellular Proliferation and Apoptosis, and Increased p53 Levels in Shielded Spleen. International Journal of Radiation Oncology*Biology*Physics, 70(2), 554–562. https://doi.org/10.1016/j.ijrobp.2007.09.039

Lewis, D., & Chan, M. F. (2015). Correcting lateral response artifacts from flatbed scanners for radiochromic film dosimetry. Medical Physics, 42(1), 416–429. https://doi.org/10.1118/1.4903758

Lloyd, S. (1982). Least squares quantization in PCM. IEEE Transactions on Information Theory, 28(2), 129–137. https://doi.org/10.1109/TIT.1982.1056489

Luce, A., Courtin, A., Levalois, C., Altmeyer-Morel, S., Romeo, P.-H., Chevillard, S., & Lebeau, J. (2009). Death receptor pathways mediate targeted and non-targeted effects of ionizing radiations in breast cancer cells. Carcinogenesis, 30(3), 432–439. https://doi.org/10.1093/carcin/bgp008

Magnus Børsting. (2020). GRID irradiation and bystander effects  in lung cancer cells [MasterThesis, University of Oslo]. https://www.duo.uio.no/bitstream/handle/10852/81244/1/Magnus-B-rsting---masteroppgave.pdf

Mandal Ananya. (2019, February 26). What are Cytokines? https://www.news-medical.net/health/What-are-Cytokines.aspx

Mao, X., Boyd, L. K., Yáñez-Muñoz, R. J., Chaplin, T., Xue, L., Lin, D., Shan, L., Berney, D. M., Young, B. D., & Lu, Y.-J. (2011). Chromosome rearrangement associated inactivation of tumour suppressor genes in prostate cancer. American Journal of Cancer Research, 1(5), 604–617.

Mao, Z., Bozzella, M., Seluanov, A., & Gorbunova, V. (2008). Comparison of nonhomologous end joining and homologous recombination in human cells. DNA Repair, 7(10), 1765–1771. https://doi.org/10.1016/j.dnarep.2008.06.018

Mason, K. A., Losos, J. B., & Duncan, T. (2020). Biology (Twelfth edition). McGraw-Hill Education.

Matson, S. W., Bean, D. W., & George, J. W. (1994). DNA helicases: Enzymes with essential roles in all aspects of DNA metabolism. BioEssays: News and Reviews in Molecular, Cellular and Developmental Biology, 16(1), 13–22. https://doi.org/10.1002/bies.950160103

McLaughlin, W. L., & Chalkley, L. (1965). Measurement of Radiation Dose Distributions with Photochromic Materials. Radiology, 84(1), 124–125. https://doi.org/10.1148/84.1.124

McLaughlin, W. L., Puhl, J. M., Al-Sheikhly, M., Christou, C. A., Miller, A., Kovács, A., Wojnarovits, L., & Lewis, D. F. (1996). Novel Radiochromic Films for Clinical Dosimetry. Radiation Protection Dosimetry, 66(1–4), 263–268. https://doi.org/10.1093/oxfordjournals.rpd.a031731

McMahon, S. J. (2018). The linear quadratic model: Usage, interpretation and challenges. Physics in Medicine & Biology, 64(1), 01TR01. https://doi.org/10.1088/1361-6560/aaf26a

Mean free path | physics | Britannica. (2007, February 12). https://www.britannica.com/science/mean-free-path

Mesnil, M., Piccoli, C., Tiraby, G., Willecke, K., & Yamasaki, H. (1996). Bystander killing of cancer cells by herpes simplex virus thymidine kinase gene is mediated by connexins. Proceedings of the National Academy of Sciences of the United States of America, 93(5), 1831–1835.

Micke, A., Lewis, D. F., & Yu, X. (2011). Multichannel film dosimetry with nonuniformity correction. Medical Physics, 38(5), 2523–2534. https://doi.org/10.1118/1.3576105

Mitchel, R. E. J. (2004). The Bystander Effect: Recent Developments and Implications for Understanding the Dose Response. Nonlinearity in Biology, Toxicology, Medicine, 2(3), 173–183. https://doi.org/10.1080/15401420490507512

Monomer | Definition & Facts | Britannica. (2022, March 5). https://www.britannica.com/science/monomer

Morgenroth, K., & Ebsen, M. (2008). CHAPTER 8—Anatomy. In P. J. Papadakos, B. Lachmann, & L. Visser-Isles (Eds.), Mechanical Ventilation (pp. 69–85). W.B. Saunders. https://doi.org/10.1016/B978-0-7216-0186-1.50012-0

Mothersill, C., & Seymour, C. (1997). Medium from irradiated human epithelial cells but not human fibroblasts reduces the clonogenic survival of unirradiated cells. International Journal of Radiation Biology, 71(4), 421–427. https://doi.org/10.1080/095530097144030

Nadrljanski, M. M. (2021a, June 7). Anode (x-ray tube) | Radiology Reference Article | Radiopaedia.org. Radiopaedia. https://doi.org/10.53347/rID-8178

Nadrljanski, M. M. (2021b, September 18). Cathode (x-ray tube) | Radiology Reference Article | Radiopaedia.org. Radiopaedia. https://doi.org/10.53347/rID-8180

Nagasawa, H., & Little, J. B. (1992). Induction of sister chromatid exchanges by extremely low doses of alpha-particles. Cancer Research, 52(22), 6394–6396.

Najafi, M., Fardid, R., Hadadi, G., & Fardid, M. (2014). The Mechanisms of Radiation-Induced Bystander Effect. Journal of Biomedical Physics & Engineering, 4(4), 163–172.

Nambiar, M., Kari, V., & Raghavan, S. C. (2008). Chromosomal translocations in cancer. Biochimica et Biophysica Acta (BBA) - Reviews on Cancer, 1786(2), 139–152. https://doi.org/10.1016/j.bbcan.2008.07.005

Narayanan, P. K., Goodwin, E. H., & Lehnert, B. E. (1997). Alpha particles initiate biological production of superoxide anions and hydrogen peroxide in human cells. Cancer Research, 57(18), 3963–3971.

Niroomand-Rad, A., Blackwell, C. R., Coursey, B. M., Gall, K. P., Galvin, J. M., McLaughlin, W. L., Meigooni, A. S., Nath, R., Rodgers, J. E., & Soares, C. G. (1998). Radiochromic film dosimetry: Recommendations of AAPM Radiation Therapy Committee Task Group 55. Medical Physics, 25(11), 2093–2115. https://doi.org/10.1118/1.598407

Nucleotide | biochemistry | Britannica. (2008, July 17). https://www.britannica.com/science/nucleotide

O’Connor-Cox, E., Mochaba, F. M., Lodolo, E., Majara, M., & Axcell, B. (1997). Methylene blue staining: Use at your own risk. Master Brew Assoc Am Tech Q, 34, 306–312.

Paelinck, L., Neve, W. D., & Wagter, C. D. (2006). Precautions and strategies in using a commercial flatbed scanner for radiochromic film dosimetry. Physics in Medicine and Biology, 52(1), 231–242. https://doi.org/10.1088/0031-9155/52/1/015

P.Andreo, A.E. Nahum, K.Hohlfeld, & H.Svensson. (1996). Review of Data and Methods Recommended in the International Code of Practice, IAEA Technical Reports Series No. 277, Absorbed Dose Determination in Photon and Electron Beams. INTERNATIONAL ATOMIC ENERGY AGENCY. https://www.iaea.org/publications/5546/review-of-data-and-methods-recommended-in-the-international-code-of-practice-iaea-technical-reports-series-no-277-absorbed-dose-determination-in-photon-and-electron-beams

Panzacchi, S., Gnudi, F., Mandrioli, D., Montella, R., Strollo, V., Merrick, B. A., Belpoggi, F., & Tibaldi, E. (2019). Effects of short and long-term alcohol-based fixation on Sprague-Dawley rat tissue morphology, protein and nucleic acid preservation. Acta Histochemica, 121(6), 750–760. https://doi.org/10.1016/j.acthis.2019.05.011

Pardee, A. B. (1974). A Restriction Point for Control of Normal Animal Cell Proliferation. Proceedings of the National Academy of Sciences of the United States of America, 71(4), 1286–1290.

Park, S., Kang, S.-K., Cheong, K.-H., Hwang, T., Kim, H., Han, T., Lee, M.-Y., Kim, K., Bae, H., Su Kim, H., Han Kim, J., Jae Oh, S., & Suh, J.-S. (2012). Variations in dose distribution and optical properties of GafchromicTM EBT2 film according to scanning mode. Medical Physics, 39(5), 2524–2535. https://doi.org/10.1118/1.3700731

Philip Mayes, Alan Nahum, & Jean-Claude Rosenwald. (2007). Handbook of Radiotherapy Physics. Taylor & Francis group.

Photon Dose Distributions | Oncology Medical Physics. (n.d.). Retrieved March 23, 2022, from https://oncologymedicalphysics.com/photon-dose-distributions/

Podgorsak, E. B. (2016). Radiation Physics for Medical Physicists. Springer International Publishing. https://doi.org/10.1007/978-3-319-25382-4

Potts, P. J. (2005). X-RAY FLUORESCENCE AND EMISSION | Wavelength Dispersive X-Ray Fluorescence. In P. Worsfold, A. Townshend, & C. Poole (Eds.), Encyclopedia of Analytical Science (Second Edition) (pp. 419–429). Elsevier. https://doi.org/10.1016/B0-12-369397-7/00674-9

Preim, B., & Botha, C. (2014). Chapter 4—Image Analysis for Medical Visualization. In B. Preim & C. Botha (Eds.), Visual Computing for Medicine (Second Edition) (pp. 111–175). Morgan Kaufmann. https://doi.org/10.1016/B978-0-12-415873-3.00004-3

RADIATION BIOLOGY: A HANDBOOK FOR  TEACHERS AND STUDENTS. (2010). IAEA.

Rahman, Md. A., Sultana, N., Ayman, U., Bhakta, S., Afrose, M., Afrin, M., & Haque, Z. (2022). Alcoholic fixation over formalin fixation: A new, safer option for morphologic and molecular analysis of tissues. Saudi Journal of Biological Sciences, 29(1), 175–182. https://doi.org/10.1016/j.sjbs.2021.08.075

Recommendation ITU-R BT.601-7. (2011). International telecommunication Union. https://www.itu.int/dms_pubrec/itu-r/rec/bt/R-REC-BT.601-7-201103-I!!PDF-E.pdf

Samuel, T., Weber, H. O., & Funk, J. O. (2002). Linking DNA Damage to Cell Cycle Checkpoints. Cell Cycle, 1(3), 161–167. https://doi.org/10.4161/cc.1.3.118

Seuntjens, J. P., Strydom, W., & Shortt, K. R. (2005). Chapter 2 DOSIMETRIC PRINCIPLES, QUANTITIES AND UNITS. In Radiation oncology physics: A handbook for teachers and students. International Atomic Energy Agency.

Shareef, M. M., Cui, N., Burikhanov, R., Gupta, S., Satishkumar, S., Shajahan, S., Mohiuddin, M., Rangnekar, V. M., & Ahmed, M. M. (2007). Role of Tumor Necrosis Factor-α and TRAIL in High-Dose Radiation–Induced Bystander Signaling in Lung Adenocarcinoma. Cancer Research, 67(24), 11811–11820. https://doi.org/10.1158/0008-5472.CAN-07-0722

Shortt, K. R., Bielajew, A. F., Ross, C. K., Stewart, K. J., Burke, J. T., & Corsten, M. J. (2002). The effect of wall thickness on the response of a spherical ionization chamber. Physics in Medicine and Biology, 47(10), 1721–1731. https://doi.org/10.1088/0031-9155/47/10/308

Soleymanifard, S., & Bahreyni, M. T. T. (2012). Comparing the level of bystander effect in a couple of tumor and normal cell lines. Journal of Medical Physics / Association of Medical Physicists of India, 37(2), 102–106. https://doi.org/10.4103/0971-6203.94745

Sterzing, F., Kalz, J., Sroka-Perez, G., Schubert, K., Bischof, M., Röder, F., Debus, J., & Herfarth, K. (2009). Megavoltage CT in Helical Tomotherapy—Clinical Advantages and Limitations of Special Physical Characteristics. Technology in Cancer Research & Treatment, 8(5), 343–352. https://doi.org/10.1177/153303460900800504

Strang, G. (2006). Linear algebra and its applications (4th ed). Thomson, Brooks/Cole.

Studzinski, G. P., & Danilenko, M. (2005). CHAPTER 92—Differentiation and the Cell Cycle. In D. Feldman (Ed.), Vitamin D (Second Edition) (pp. 1635–1661). Academic Press. https://doi.org/10.1016/B978-012252687-9/50096-6

Thermionic emission | physics | Britannica. (2021, March 23). https://www.britannica.com/science/thermionic-emission

Thevenaz, P., Ruttimann, U. E., & Unser, M. (1998). A pyramid approach to subpixel registration based on intensity. IEEE Transactions on Image Processing, 7(1), 27–41. https://doi.org/10.1109/83.650848

Transcription | Definition, Steps, & Biology | Britannica. (2019, September 26). https://www.britannica.com/science/transcription-genetics

van Leeuwen, C. M., Oei, A. L., Crezee, J., Bel, A., Franken, N. A. P., Stalpers, L. J. A., & Kok, H. P. (2018). The alfa and beta of tumours: A review of parameters of the linear-quadratic model, derived from clinical radiotherapy studies. Radiation Oncology, 13(1), 96. https://doi.org/10.1186/s13014-018-1040-z

Villarraga-Gómez, H. (2016, July 26). X-ray Computed Tomography for Dimensional Measurements.

Waldeland, E., Hole, E. O., Sagstuen, E., & Malinen, E. (2010). The energy dependence of lithium formate and alanine EPR dosimeters for medium energy x rays. Medical Physics, 37(7Part1), 3569–3575. https://doi.org/10.1118/1.3432567

Weinstein, I. B. (2002). Addiction to Oncogenes—The Achilles Heal of Cancer. Science, 297(5578), 63–64. https://doi.org/10.1126/science.1073096

Wu, X., Ahmed, M. M., Wright, J., Gupta, S., & Pollack, A. (2010). On Modern Technical Approaches of Three-Dimensional High-Dose Lattice Radiotherapy (LRT). Cureus, 2(3). https://doi.org/10.7759/cureus.9

Yan, W., Khan, M. K., Wu, X., Simone, C. B., Fan, J., Gressen, E., Zhang, X., Limoli, C. L., Bahig, H., Tubin, S., & Mourad, W. F. (2019). Spatially fractionated radiation therapy: History, present and the future. Clinical and Translational Radiation Oncology, 20, 30–38. https://doi.org/10.1016/j.ctro.2019.10.004

Yung, Y., Walker, J. L., Roberts, J. M., & Assoian, R. K. (2007). A Skp2 autoinduction loop and restriction point control. The Journal of Cell Biology, 178(5), 741–747. https://doi.org/10.1083/jcb.200703034

Zhang, D., Zhou, T., He, F., Rong, Y., Lee, S. H., Wu, S., & Zuo, L. (2016). Reactive oxygen species formation and bystander effects in gradient irradiation on human breast cancer cells. Oncotarget, 7(27), 41622–41636. https://doi.org/10.18632/oncotarget.9517

Zhang, X., Penagaricano, J., Yan, Y., Sharma, S., Griffin, R. J., Hardee, M., Han, E. Y., & Ratanatharathom, V. (2016). Application of Spatially Fractionated Radiation (GRID) to Helical Tomotherapy using a Novel TOMOGRID Template. Technology in Cancer Research & Treatment, 15(1), 91–100. https://doi.org/10.7785/tcrtexpress.2013.600261

# Appendix

## Appendix A

### Compton Scattering

Here we derive the photon energy scattered after interaction with a free electron at rest. We will use the four-momentum vector   P=p0, p1, p2, p3, which consist of a time component p0 and three space components [p0, p1,p2, p3]=  p=px,  py, pz. 

First, we use conservation of energy.

E= E'

Eγ+Ee=E'γ+Ee'

The energy of the incident photon is hν. Because of the assumption of an electron at rest, we only have rest energy mec2. The energy of the photon after the interaction is simply hν',  and the energy of the electron after the interaction is unknown. We end up with this equation

| hν+mec2=hν'+Ee' | 5-1 |
| --- | --- |

Finding Ee' requires that we introduce conservation of momentum. We need to find the components of the four-momentum vector for the photon and the electron. We’ll use Figure 1-3 as a basis for our calculations.

For the incident photon, the time component become pγ0=Eγc=hνc. We only have momentum in the x-direction. Using the relation

| E2=pc2+m0c22, | 5-2 |
| --- | --- |

and the fact that the photon is massless, we get pγ1=Ec=hνc.

The electron at rest does not have momentum, but it does have rest energy. The time component become pe0=Eec=mec2c=mec. Where me is the rest mass of the electron.

We use trigonometry to find the spatial components of the momentum for the electron and photon after the interaction.  Combining all the results, we get four four-momentum vectors

| Pγ= hνchνc0, Pγ'= hν'chν'c⋅cosϕhν'c⋅sinϕ, Pe= mec00, Pe'= Ee'cpe'⋅cosθpe '⋅sinθ | 5-3 |
| --- | --- |

With all the components in place, we use conservation of momentum.

P=P'

Pγ+Pe=Pγ'+Pe'

First, we separate the γ and e, then we square both sides of the equation. For simplicity, we remove the vector sign above our four-vectors. We get this equation

| Pγ2-2PγPγ'+Pγ'2=Pe2-2PePe'+P'e2 . | 5-4 |
| --- | --- |

The product of two four-vectors is X⋅Y=x0y0-x⋅ y, we see that Pγ2 becomes 0. And Pe2 becomes me2c2. 
We use the dot product to find PγPγ', PePe', Pγ'2, and P'e2.

PγPγ'=pγ0⋅pγ'0-pγ1⋅pγ'1+ pγ2⋅pγ'2 
          =hνc⋅hν'c-hνc⋅hν'c cosϕ+0
           =hνchν'c1-cosϕ

PePe' = pe0⋅pe'0-pe1⋅pe'1+ pe2⋅pe'2
  =mec⋅Ee'c-pe'cosθ⋅0+pesinθ⋅0 
=mec⋅Ee'c

Pγ'2=pγ' 0⋅pγ' 0-pγ' 1 ⋅pγ' 1 + pγ' 2⋅pγ' 2
         =hν'c2-hν'c2cos2ϕ+sin2ϕ
=0 
Pe'2=Ee'c2-pe'2cos2θ+pe'2 sin2θ= = Ee'c2-pe'2

If we use equation 5-2, we can exchange Ee'c2with pe'2+me2 c2. We get

Pe'2=mec2 .

Finally, we put all our calculations together and rewrite equation 5-4 to get

-2hνc⋅hνc1-cosϕ= -2meEe'+2me2c2 ,

solving for Ee' we get

Ee'=hνhν'mec21-cosϕ+mec2

Inserting this expression into equation 5-1 and solving for photon energy after the interaction we get

| hν+mec2=hν'+ hνhν'mec21-cosϕ+mec2 hν'=hν1+hνmec21-cosϕ | 5-5 |
| --- | --- |

Which is the expression for the energy of the photon after the interaction, with scattering angle ϕ.

### Mean free path

Here we derive the mean free path of a photon.

Assume that you have incoming photons hitting a slab of material with infinitesimal area dA and width dx (see Error! Reference source not found.). The total probability of N photons hitting the slab, with an interaction probability of σ is

| P=NσdA =nσdx | 5-6 |
| --- | --- |

Where n is atoms per unit volume

n=NdV=NdAdx  .

The probability of not interacting is of course 1-P, then number of photons after the slab Nx+dx becomes

N(x+dx)=N(x)(1-P)=N(x)-N(x)P .

Rearranging and inserting our expression for P we get

N(x+dx)-N(x)= -N(x)  nσdx .

If we divide by dx and let dx approach 0, we get

limdx → 0Nx+dx-Nxdx=dNdx= -Nx nσdx .

Solving the differential equation, we get

N(x)=N0e-nσx   →NxN0 = e-nσx  = 1-P=Q,

where N0 is the number of photons entering the slab. Now we have the fraction of photons that doesn’t interact in the slab. If we multiply Q with P, we get a binomial looking probability density function, which describes the probability of an interaction happening somewhere between  x and dx

PQ=nμ e-nσxdx.

Integrating over possible pathlength from 0 to ∞ we get an expected pathlength of

<x> = 0∞x⋅nμe-nσxdx .

Solving the integral using partial integration we get

<x> =nσ -xnσe-nσx-1nσ2e-nσx|∞0

Using L’Hôpital’s rule we see that

limx→∞xe-nσx=0 .

For the second term we get 1/nσ2. This results in a mean free path of

<x> =1nσ

We know that n is atoms per unit volume, and from 1.1.1 that σ has the unit cm2. Multiplying them, we get the attenuation coefficient μ, resulting in the expression

| <x> =1μ | 5-7 |
| --- | --- |

Figure 5-1. A thin slab of material with atoms that might interact with an incoming photon (“Mean Free Path,” 2021)